## SUBSTATION - BOQ
SUBSTATION MAINTENANCE - BILL OF QUANTITIES
Item | Description | Unit | Qty | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of surety | Year | 1
A1.1.2 | Provision of insurances | Year | 1
A1.1.3 | Staff protective personal equipment | Year | 1
A1.1.4 | Staff induction | Year | 1
A1.1.5 | OHS compliance method statement | Year | 1
A1.1.6 | CEMP compliance method statement | Year | 1
A1.1.7 | Provision of Electronic Maintenance Manual | Year | 1
A1.1.8 | Provision of Updated drawings in AutoCAD format | Year | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Monthly overheads & administration charges | Months | 12
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SECTION B1 : ROUTINE MAINTENANCE
B1 | Routine maintenance (inclusive of all labour, equipment, transport and related costs)
B1.1 | Complete monthly inspection & submit report in electronic format, recording works carried out, findings requiring attention and costs to resolve | No. | 12
B1.2 | Batteries Tested by means of a EC Series Electrochemical Analyser
B1.2.1 | Test & maintain Standby alternator lead acid battery | sum | 156
B1.2.2 | Test & maintain Nicad cells in BTU | sum | 56
B1.2.3 | Test & maintain UPS battery | sum | 96
B1.3 | Transformer - see attached NRS Recommendation
B1.3.1 | Complete Inspection, Testing and Maintenance under Live Conditions | sum | 88
B1.3.2 | Complete Inspection, Testing and Maintenance under Isolated Conditions | sum | 56
B1.4 | Complete SBV4 Switchboard as per manufacturers standards
B1.4.1 | Complete Inspection, Testing and Maintenance under Live Conditions | sum | 56
B1.4.2 | Complete Inspection, Testing and Maintenance under Isolated Conditions | sum | 0
B1.5 | Secondary type K, RM6 & ABB Safe Ring type switchgear as per manufacturers standards
B1.5.1 | Complete Inspection, Testing and Maintenance under Live Conditions | sum | 96
B1.5.2 | Complete Inspection, Testing and Maintenance under Isolated Conditions | sum | 0
B1.6 | Electrical substation building
B1.6.1 | Clean all walls, floors, luminaires, doors, filters and lubricate locks (rate per complete substation/Node Room) | sum | 88
B1.6.2 | Clean all walls, floors, luminaires, doors, filters and lubricate locks (rate per complete substation) | sum | 0
B1.6.3 | Clean all walls, floors, luminaires, doors, filters and lubricate locks (rate per complete Metered Switch Chamber) | sum | 8
B1.7 | Standby diesel alternator plant
B1.7.1 | Service, run (On load) and inspect complete alternator, engine , tank, exhaust, frame, auxiliary equipment to manufacturers specification | sum | 0
B1.7.2 | Clean, run (no load) and inspect complete alternator, engine , tank, exhaust, frame, auxiliary equipment to manufacturers specification | sum | 156
B1.8 | Miniature Substations - see attached NRS Recommendation
B1.8.1 | Complete Inspection, Testing and Maintenance under Live Conditions | sum | 120
B1.8.2 | Complete Inspection, Testing and Maintenance under Isolated Conditions | sum | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE
C1 | General maintenance (inclusive of 24 hour response with ELIDZ control and security office)
C1.1 | Apply specified DC/AC/VLF voltage test and complete test records (test fault/test clear). | sum | 1 |  |  | 0
C1.2 | Locate Cable Fault | sum | 1
C1.3 | Survey Complete Repair | sum | 1
C1.4 | Provide Switching Services for complete repair | sum | 1
C1.5 | MV Cable (XLPE) Joint 35/70 mm including excavations and reinstatement | sum | 1
C1.6 | MV Cable (XLPE) Joint 95/150 mm including excavations and reinstatement | sum | 1
C1.7 | MV Cable (XLPE) Joint 185/300 mm including excavations and reinstatement | sum | 1
C1.8 | LV Cable (PVCSWA) Joint 4/35 mm including excavations and reinstatement | sum | 1
C1.9 | LV Cable (PVCSWA) Joint 50/95 mm including excavations and reinstatement | sum | 1
C1.10 | LV Cable (PVCSWA) Joint 120/185 mm including excavations and reinstatement | sum | 1
C1.11 | MV Cable (XLPE) Indoor Termination 50/95 mm | sum | 1
C1.12 | MV Cable (XLPE) Indoor Termination 120/300 mm | sum | 1
C1.13 | MV Cable (XLPE) Outdoor Termination 50/95 mm | sum | 1
C1.14 | MV Cable (XLPE) Outdoor Termination 120/300 mm | sum | 1
C1.15 | LV Cable (PVCSWA) Termination 4/35 mm | sum | 1
C1.16 | LV Cable (PVCSWA) Termination 50/120 mm | sum | 1
C1.17 | Replace internal 2*58W fluorescent fitting unit to match existing | sum | 1
C1.18 | Replace external 2*58W bulkhead unit to match existing | sum | 1
C1.19 | Replace photocell unit | sum | 1
C1.20 | Replace damaged light switch including cover plate | sum | 1
C1.21 | Replace damaged single switched socket outlet including cover plate | sum | 1
C1.22 | Replace damaged double switched socket outlet including cover plate | sum | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SECTION A4 : PROVISIONAL CHARGES
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION D1 : PROVISIONAL SUMS
D1.1 | Call out (inclusive of all labour, equipment, transport and related costs)
D1.1.1 | Emergency response (Immediate) | No. | 1
D1.1.2 | Urgent response (24 hours) | No. | 2
D1.1.3 | Routine response (extra over during normal working hours) | No. | 20
D1.2 | Labour additional to scheduled works
D1.2.1 | Electrical Technician | hr | 10
D1.2.2 | Semi Skilled Labour | hr | 10
D1.2.3 | Labour | hr | 10
D1.3 | Travelling additional to scheduled works
D1.3.1 | LDV | hr | 72
D1.3.2 | Truck - 8 Ton | hr | 20
D1.3.3 | Hydraulic Platform | hr | 5
D1.3.4 | Crane truck | hr | 8
D1.3.5 | Compressor | hr | 8
D1.3.6 | Whacker Rammer Compactor | hr | 8
D1.4 | Provisional Allowance for replacement equipment
D1.4.1 | Consumables like fuel, oil and filters etc | Sum | 1 | 80000 | 80000
D1.4.2 | Profit and Attendance | %
D1.4.3 | Provisional Sum for Annual Standby Generator Plant Maintenance | Sum | 1 | 100000 | 100000
D1.4.4 | Profit and Attendance | %
D1.4.5 | Provisional Sum for UPS Plant Replacement | Sum | 1 | 300000 | 300000
D1.4.6 | Profit and Attendance | %
D1.4.5 | Provisional Sum for Annual Protection Maintenance | Sum | 1 | 450000 | 450000
D1.4.6 | Profit and Attendance | %
D1.4.7 | Contingency Sum - Provisional Sum for Bulk Service Equipments | Sum | 1 | 900000 | 900000
D1.4.8 | Profit and Attendance | %
D1.4.9 | Provide the following for the services of specialist site management to plan, implement and control daily site activities - subject to agreement with ELIDZ | Sum | 1 | 500000 | 500000
D1.4.10 | Profit and Attendance - Mark up on Item D1.4.9 for the Contractor's administrative cost and profit (State % and extend as an amount) Not applicable where works are executed by the contractor. | %
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SUMMARY
SECTION A1 : ANNUAL CHARGES
SECTION A2 : MONTHLY CHARGES
SECTION B1 : ROUTINE CHARGES
SECTION C1 : GENERAL MAINTENANCE
SECTION D1 : PROVISIONAL SUMS
Nett Tender Sum for Year 1
| Nett Tender Sum for Year 2 (Escalated) | %
| Nett Tender Sum for Year 3 (Escalated) | %
Total for 3 (Three) Year Term
Add VAT @ 15%
Gross Tender Sum carried to Form of Offer