## BOQ
East London Industrial Development Zone (SOC) Ltd
PROVISION OF MAINTENANCE & REPAIR & REPLACEMENT SERVICES
TO THE FIRE SPRINKLER INSTALLATIONS
SECTION A |  |  |  | Contract Amount
Item | Description | Unit | Qty | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of Surety | Year | 1 |  | 0
A1.1.2 | Provision of Insurances | Year | 1 |  | 0
A1.1.3 | Staff (PPE) Personal Protective Equipment | Year | 1 |  | 0
A1.1.4 | Staff Induction | Year | 1 |  | 0
A1.1.5 | OHS Compliance Method Statement | Year | 1 |  | 0
A1.1.6 | CEMP Compliance Method Statement | Year | 1 |  | 0
A1.1.7 | Provision of Electronic Maintenance Manual | Year | 1 |  | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Provide suitably qualified and certified personnel (approved qualifications recognised by ASIB), transport, tools and equipment, including requests for quotations for unscheduled works | Months | 12 |  | 0
A2.1.2 | Monthly overheads & administration charges | Months | 12 |  | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
SECTION B1 : ROUTINE MAINTENANCE
Routine maintenance (inclusive of all labour, equipment, transport and related costs)
SPRINKLER INSTALLATIONS - QUARTERLY INSPECTIONS
B1.1 | Quarterly Services (Inspections, checks, cleaning and testing) Sprinkler installations Systems.
B1.1.1 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE1 | service | 1 | 0 | 0
B1.1.2 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE4 | service | 1 | 0 | 0
B1.1.3 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Caravelle | service | 1 | 0 | 0
B1.1.4 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Fehrer) | service | 1 | 0 | 0
B1.1.5 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW4 | service | 1 | 0 | 0
B1.1.6 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW6 | service | 1 | 0 | 0
B1.1.7 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW8 | service | 1 | 0 | 0
B1.1.8 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW9 | service | 1 | 0 | 0
B.1.1.9 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE2 | service | 1 | 0 | 0
B.1.1.10 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE4 | service | 1 | 0 | 0
B.1.1.11 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE5 | service | 1 | 0 | 0
B.1.1.12 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE6 | service | 1 | 0 | 0
B.1.1.13 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW1 | service | 1 | 0 | 0
B.1.1.14 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 1 | 0 | 0
B.1.1.15 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at TA1 and TA2 (Tugger Route) | service | 1 | 0 | 0
B.1.1.16 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE1 (Sprinkler Pump Room) | service | 1 | 0 | 0
B.1.1.17 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CW1 | service | 1 | 0 | 0
B.1.1.18 | Carry out inspection and submit a compliance and condition report for the entire Sprinkler Main from the Pump Room to the various sprinkler valves | service | 1 | 0 | 0
B.1.1.20 | Carry out inspection and submit a compliance and condition report for the entire Sprinkler Pump Room and Sprinkler Water Tanks | service | 1 | 0 | 0
B.1.1.21 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 1 | 0 | 0
B.1.1.22 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CE 1 | service | 1 | 0 | 0
B.1.1.23 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at EW 1 | service | 1 | 0 | 0
B.1.1.24 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at FW 1 | service | 1 | 0 | 0
B.1.1.25 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GW 1 | service | 1 | 0 | 0
B.1.1.26 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GE 1 | service | 1 | 0 | 0
B.1.1.27 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HW 1 | service | 1 | 0 | 0
B.1.1.28 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HS 1 | service | 1 | 0 | 0
B.1.1.29 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HE 1 | service | 1 | 0 | 0
B.1.1.30 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Sundale Dairy | service | 1 | 0 | 0
B.1.1.31 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Froetek | service | 1 | 0 | 0
B.1.1.32 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Automould | service | 1 | 0 | 0
ASIB INSPECTIONS
| Sum allowance for six monthly ASIB installation inspection for the entire ASP sprinkler installations | Sum | 2 | 0 | 0
| Attendance on ASIB Inspector during six monthly inspection including submission of all documentation required for compilation of inspection report by ASIB | Sum | 2 | 0 | 0
| Sum allowance for yearly ASIB installation inspection for the entire ASP sprinkler installations | Sum | 1 | 0 | 0
| Attendance on ASIB Inspector during yearly inspection including submission of all documentation required for compilation of inspection report by ASIB | Sum | 1 | 0 | 0
B1.2 | Monthly Services (Inspections, checks, cleaning and testing) Sprinkler Installation Systems. SPRINKLER CONTROL VALVES
B1.2.1 | BUTTERFLY VALVES | service |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
B1.2.2 | SPRINKLER AND PIPING | service |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
B1.2.3 | ALARM VALVES (WET VALVES) | service |  | 0 | 0
B1.3 | Weekly Services (Inspections, checks, cleaning and testing) Fire Sprinkler Systems. SPRINKLER PUMPS AND TANKS
B1.3.1 | BUTTERFLY VALVES | service |  | 0 | 0
B1.3.2 | CONTROL PANELS | service |  | 0 | 0
B1.3.3 | FUEL SYSTEMS | service |  | 0 | 0
B1.3.4 | WATER COOLING SYSTEM | service |  | 0 | 0
B1.3.5 | PUMP ROOM GENERAL | service |  | 0 | 0
B1.3.6 | OPERATIONAL PUMP CHECKS | service |  | 0 | 0
B1.3.7 | WATER TANKS | service |  | 0 | 0
|  | sum |  | 0 | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE
C1 | General Maintenance (inclusive of 24 hour response with ELIDZ control and security office)
Supply, delivery to site and installation of SANS. 62 Medium Grade pipework primed and painted to specification including cutting, reaming and threading or butt welding
STRAIGHT PIPE LENGTHS
C1.1 | 15 NB | p/m | 1 | 0 | 0
C1.2 | 20 NB | p/m | 1 | 0 | 0
C1.3 | 25 NB | p/m | 1 | 0 | 0
C1.4 | 32 NB | p/m | 1 | 0 | 0
C1.5 | 40 NB | p/m | 1 | 0 | 0
C1.6 | 50 NB | p/m | 1 | 0 | 0
C1.7 | 65 NB | p/m | 1 | 0 | 0
C1.8 | 80 NB | p/m | 1 | 0 | 0
C1.9 | 100 NB | p/m | 1 | 0 | 0
C1.10.1 | 150 NB | p/m | 1 | 0 | 0
C1.10.2 | 200 NB | p/m | 1 | 0 | 0
C1.10.3 | 250 NB | p/m | 1 | 0 | 0
C1.11 | 300 NB | p/m | 1 | 0
C1.11.1 | 350 NB | p/m | 1 | 0 | 0
PIPE COUPLINGS AND FLANGES
Cut and grove pipe ends for "Klambon" or equal and approved coupling
C.1.12 | 50 NB | number | 1 | 0 | 0
number
C1.12.1 | 65 NB | number | 1 | 0 | 0
|  | number |  | 0 | 0
C1.12.2 | 80 NB | number | 1 | 0 | 0
|  | number |  | 0 | 0
C1.12.3 | 100 NB | number | 1 | 0 | 0
|  | number |  |  | 0
C1.13 | 150 NB | number | 1 | 0 | 0
number
C1.13.1 | 200 NB | number | 1 | 0 | 0
Supply and install "Klambon" or equal and approved pipe coupling
|  |  |  | 0 | 0
C.1.14 | 50 NB | number | 1 | 0 | 0
number
C.1.14.1 | 65 NB | number | 1 | 0 | 0
|  | number |  | 0 | 0
C.1.14.2 | 80 NB | number | 1 | 0 | 0
|  | number |  | 0 | 0
C.1.14.3 | 100 NB | number | 1 | 0 | 0
|  | number |  |  | 0
C.1.14.4 | 150 NB | number | 1 | 0 | 0
number
C.1.14.5 | 200 NB | number | 1 | 0 | 0
Replace Klambon coupling seals including breaking and remaking of joint, draining of system measured elsewhere
C.1.15 | Replace 50 NB coupling seal | number
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION D1 : PROVISIONAL SUMS
D1.1 | Labour Cost - additional to scheduled works
D1.1.1 | Fire Sprinkler Technician | hr | 100 | 0 | 0
D1.1.2 | Semi Skilled Labour | hr | 100 | 0 | 0
D1.1.3 | Labour | hr | 100 | 0 | 0
D1.2 | Travelling cost - additional to scheduled works
D1.2.1 | LDV | km | 100 | 0 | 0
D1.2.2 | Truck 3 ton | km | 100 | 0 | 0
D1.2.3 | Aerial Platform | hour | 100 | 0 | 0
D1.3 | Contingencies & Provisional Allowance | 1 | 1 | 0 | 0
D1.3.1 | Unscheduled work and all other unforeseen and emergency circumstances. | Sum | 1 | 1700000 | 1700000
NOTES | Dayworks Costs / Mark-up allowance
(1) When used as a payment facilitator - Proven costs only.
(2) Outsource to sub-contractor - 7,5 % of invoice.
(3) Materials and supply items - 10 % on supplier invoice.
(4) Labour - 33 % on supplier invoice (or maximum D1.1).
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 1700000
SUMMARY OF CHARGES
| SECTION A1 : ANNUAL CHARGES |  |  |  | 0
| SECTION A2 : MONTHLY CHARGES |  |  |  | 0
| SECTION B1 : ROUTINE MAINTENANCE |  |  |  | 0
| SECTION C1 : GENERAL MAINTENANCE |  |  |  | 0
SECTION D1 : PROVISIONAL SUMS
| Nett Tender Sum for Year 1 |  |  |  | 0
| Nett Tender Sum for Year 2 (Escalated) | % |  |  | 0
| Nett Tender Sum for Year 3 (Escalated) | % |  |  | 0
| Total for 3 (Three) Year Term |  |  |  | 0
| Add VAT @ 15% |  |  |  | 0
| Gross Tender Sum carried to Form of Offer |  |  |  | 0