## BOQ - Soft Copy
Bill of Quantities
Item no. 1.1.2 | Description of item for the supply, installation, configuration and integration of the complete Adriot SCADA System. | Unit | Qty | Rate (R) | Amounts (R)
Section A
A.1 | Procurement of Adriot SCADA System - Procurement of Complete SCADA system with licences registered to ELIDZ with Supply, Installation, configuration, Testing and commissioning of all hardware and software with ancillaries.
A.1.1 | Licences (36 Month Licence Agreements) -Adriot GROUP WIDE License Agreement ,SCADA CLIENT licensing ,SCADA CLIENTS to existing license, ADRIOT SCADA INTELLIGENCE LICENSING , ADRIOT INFORMATION PORTAL SERVER AND ADRIOT INFORMATION PORTAL SERVER. As per Scope
| 1. Fixed | sum | 1 |  | 0
| 2. Overheads, charges and profit on above | % |  |  | 0
A.1.2 | Addition of new SCADA CLIENTS
| 1. Fixed | sum | 1 |  | 0
| 2. Overheads, charges and profit on above | % |  |  | 0
A.1.3 | Amendment or upgrading of scan point sizing of existing licenses
| 1. Fixed | sum | 1 |  | 0
| 2. Overheads, charges and profit on above | % |  |  | 0
A.1.4 | ALARM MANAGEMENT AND ANALYSIS TOOL
| 1. Fixed | sum | 1 |  | 0
| 2. Overheads, charges and profit on above | % |  |  | 0
A.1.5 | Supply of the latest version of ADRIOT's software listed
| 1. Fixed | sum | 1 |  | 0
| 2. Overheads, charges and profit on above | % |  |  | 0
A.1.6 | Commissioning & Testing of the entire system.
| 1. Fixed | sum | 1 |  | 0
| 2. Overheads, charges and profit on above | % |  |  | 0
A.1.7 | Integrating new equipment on new SCADA System (I.e Electric Fence). Price per I/O Point complete with hardware and software configuration.
| 1. Re-measurable | Each | 200 |  | 0
| 2. Overheads, charges and profit on above | % |  |  | 0
A.1.8 | On-site support for 3-year package - 15 days in office engineering assistance and 3 days’ on-site support by an Adriot engineer every quarter including travel. 20% discount on the standard ADRIOT TRAINING to form part of package.
| 1. Fixed | sum | 1 |  | 0
| 2. Overheads, charges and profit on above | % |  |  | 0
A.1.9 | Support - The availability and supply of support services during Core Hours by telephone, fax, modem, or email. Remote support where possible through the lifecycle of the SCADA System. To be included in the holistic pricing.
| 1. Fixed | sum | 0 | No Charge | 0
| 2. Overheads, charges and profit on above | % | 0 | No Charge | 0
Section A - Sub Total |  |  |  |  | 0
SECTION B
B.1 | Integration Services -Provide Professional Integration Services for the successfully migration of the ELIDZ SCADA system to the Adriot SCADA system.
B.1.1 | Integration Technical Services for the Adriot system until project handover with contract project management and administration. This is to include the total time required for all resources instated on the project for its duration.
| 1. Fixed | sum | 1 |  | 0
B.1.2 | Develop ELIDZ standards guidelines, technical manuals, technical procedure, repair, operation and maintenance manuals, drawings and technical policies for the newly installed system.
| 1. Fixed | sum | 1 |  | 0
B.1.3 | Redesign of the BMS SCADA GUI and as-build Architectural network
| 1. Fixed | sum | 1 |  | 0
B.1.4 | Providing Skills transfer during system installation, quick repair skills transfer and system training for ELIDZ personnel's until successful project handover.
| 1. Fixed | sum | 1 |  | 0
B.1.5 | Service Providers Call Out Rate per hour for Project Manager
| 1. Rate Only - Weekdays | Each | Rate Only |  | 0
| 2. Rate Only - Weekend | Each | Rate Only
B.1.6 | Service Providers Call Out Rate per hour for Technician
| 1. Rate Only - Weekdays | Each | Rate Only |  | 0
| 2. Rate Only - Weekend | Each | Rate Only
B.1.7 | Service Providers Travel Rate per km
| 1. Rate Only | Each | Rate Only |  | 0
Section B - Sub Total |  |  |  |  | 0
SECTION C
C.1 | Preliminary and General Requirements for both Service Integrator and subcontractor.
C.1.1 | Other fixed-charge obligations (Specify) - Allow for all costs which the Contractor may incur in terms of any or all descriptions in the tender/contract documents and of the drawings, which costs are not specifically covered in the schedule below. Submit full details in writing. | sum | 1 |  | 0
C.1.2 | All transport, cell phone ,accommodation, Internet, Data Storage, Tools, equipment, staff training, OHS compliance for Act 85 of 1993 , ELIDZ OHS policy compliance ,Environmental Compliance Act 107 of 1998, Operation costs, all meetings and compliance with technical specification.
| Value related | sum | 1 |  | 0
| Time related | sum | 6 |  | 0
C1.3 | Contractual requirements i.e. insurances, statutory contributions, etc. | sum | 1 |  | 0
Section C - Sub Total |  |  |  |  | 0
SUMMARY
ITEM | SECTIONS |  |  |  | AMOUNT (R)
1 | SECTION A |  |  |  | 0
2 | SECTION B |  |  |  | 0
3 | SECTION C |  |  |  | 0
Sub - Total |  |  |  |  | 0
VAT (15%) |  |  |  |  | 0
TOTAL |  |  |  |  | 0