## Maintenance Bill
East London IDZ
Provision of Maintenance Services for
Addressable Fire Detection Installations
Item | Description | Unit | Qty | Qty | Rate | Total
1 | Preliminary & General Items
A1.1. | Monthly Preliminary & General
1.1.1 | Provide suitably qualified personnel, transport, tools & equipment | months | 12 | 12 |  |  | 12
1.1.2 | Monthly overheads & administration charges | months | 12 | 12 |  |  | 12
1.1.3 | Other contractual items not detailed above | months | 12 | 12 |  |  | 12
SECTION A1 : ANNUAL CHARGES
A1.2. | Annual Preliminary & General
1.2.1 | Provision of surety | Period | 1 | 1 |  |  | 1
1.2.2 | Provision of insurances | Period | 1 | 1 |  |  | 1
1.2.3 | Staff protective personal equipment | Period | 1 | 1 |  |  | 1
1.2.4 | Staff induction | Period | 1 | 1 |  |  | 1
1.2.5 | OHS compliance method statement | Period | 1 | 1 |  |  | 1
1.2.6 | CEMP compliance method statement | Period | 1 | 1 |  |  | 1
1.2.7 | Provision of Electronic Maintenance Manual | Period | 1 | 1 |  |  | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total
Provision of Maintenance Services for
Addressable Fire Detection Installations
SECTION A2 : ROUTINE CHARGES
Item | Description | Unit | Qty | Qty | Rate | Total | Qty
A2 | Routine maintenance (inclusive of all labour, equipment, transport and all overhead costs)
Quarterly Services (Inspections, Checks and Tests)
A2.1 | Maintain and Support of Maestro system | sum | 12 | 12 |  |  | 12
A2.2 | Program & Update Maestro network diagrams. | sum | 12 | 12 |  |  | 12
A2.3 | The Fire Detection Contractor will be required to carry out an initial inspection on 50 (Fifty) Ziton Addressable Fire Panels and 4 (Four) addressable self contained gas control units at commencement and submit a report after each inspection | sum | 12 | 12 |  |  | 12
A2.4 | Fire Control panel semi-flush wall mounted, C/W network card, built in printer and power unit (1-4 loop)
|  | service | 200 | 200 |  |  | 200
A2.5 | Addressable self contained gas control unit, model no. Ziton ZP-GDU-2
|  | service | 16 | 16 |  |  | 16
A2.6 | Addressable Multi-sensor (algorithm based technology) Low profile, model no. Ziton ZX832-2
|  | service | 556 | 556 |  |  | 556
A2.7 | Addressable heat sensor Low profile, model no. Ziton ZP720-2/3
|  | service | 156 | 156 |  |  | 156
A2.8 | Addressable smoke sensor Low profile, model no. Ziton ZP710-2 & ZP730-2
|  | service | 1516 | 1516 |  |  | 1516
A2.9 | Addressable Combination smoke and heat sensor Low profile, model no. Ziton ZP732-2
|  | service | 8 | 8 |  |  | 8
A2.10 | Intrinsically Safe optical/heat multi sensor | service | 4 | 4 |  |  | 4
A2.11 | Addressable recessed mounting Call Point resettable type , model no. Ziton ZP785-2
|  | service | 388 | 388 |  |  | 388
A2.12 | Intrinsically Safe manual callpoint, model no. Ziton ZC6-MCP-IS
|  | service | 3 | 3 |  |  | 3
A2.13 | Addressable interface module for Conventional zone , model no. Ziton A70E-2 DIN rail mounted
|  | service | 6 | 6 |  |  | 6
A2.14 | Addressable electronic sounder, model no. Ziton ZP755 range controlled and powered via the Fire Loop. Price will include for all sounder types i.e. Room, base, horn type, Sounder Beacon and weather proof sounder
|  | service | 300 | 300 |  |  | 300
A2.15 | 120db 24 V DC evacuation siren C/W mounting brackets and all fixing materials
|  | service | 100 | 100 |  |  | 100
A2.16 | PyroShield extinguishing system C/W cylinders, cylinder valves, caps and test and charging/filling certificates flexible connectors to manifold, non return valve, gauges and hydraulic ally operated cylinder discharge valve included
|  | service | 8 | 8 |  |  | 8
A2.17 | Ansul Piranha Kitchen canopy Wet Agent Fire Suppression system c/w switches, valves, manifolds
|  | service | 4 | 4 |  |  | 4
A2.18 | Installation Inspections
Inspect all fire detection equipment, compile asset register, capture record drawings and submit a detailed report
|  | sum | 2 | 2 |  |  | 2
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total
Provision of Maintenance Services for
Addressable Fire Detection Installations
SECTION A3 : GENERAL CHARGES
Item | Description | Unit | Qty | Qty | Rate | Total | Qty
A3 | General maintenance (inclusive of 24 hour response with ELIDZ control and security office)
A3.1 | Ziton ZP3 Fire Alarm Panel | Qty | 1 | 1 |  |  | 1
A3.2 | Ziton Smoke Sensor ZP730-2 | Qty | 1 | 1 |  |  | 1
A3.3 | Ziton Heat Sensor ZP | Qty | 1 | 1 |  |  | 1
A3.4 | Ziton Multisensor Fire Detector ZX832 -2 | Qty | 1 | 1 |  |  | 1
A3.5 | Addressable self contained gas control unit, model no. Ziton ZP-GDU-2 | Qty | 1 | 1 |  |  | 1
A3.6 | Addressable recessed mounting Call Point resettable type , model no. Ziton ZP785-2 | Qty | 1 | 1 |  |  | 1
A3.7 | Addressable Interface Unit, model no. Ziton A45E2 & ZP740 | Qty | 1 | 1 |  |  | 1
A3.8 | Addressable Interface module, model no. Ziton A45E2 DIN rail mounted | Qty | 1 | 1 |  |  | 1
A3.9 | 120db 24 V DC evacuation siren C/W mounting brackets and all fixing materials | Qty | 1 | 1 |  |  | 1
A3.10 | Battery model no. 12V DC / 28A Hr. - 13.1V DC (ZLAB12280) | Qty | 1 | 1 |  |  | 1
A3.11 | Industrial Ethernet 5-port switches (Ethernet to fibre optics converter/switch), model no. Westermo ODW-700 | Qty | 1 | 1 |  |  | 1
A3.13 | Main Board C/W CPU Power Unit Assembly, model no. Ziton ZP3-MB4L | Qty | 1 | 1 |  |  | 1
A3.15 | Network Card, model no. Ziton ZP3-AB1-NET | Qty | 1 | 1 |  |  | 1
A3.16 | Display Unit, model no. Ziton ZP3-ECD | Qty | 1 | 1 |  |  | 1
A3.17 | Replacement of screened conductor as specified, for connecting between fire panels, line devices and sensors drawn into sleeves/ conduit/ducting.
|  | m | 1 | 1 |  |  | 1
| Addressable electronic sounder, model no. Ziton ZP755 range controlled and powered via the Fire Loop. Price will include for all sounder types i.e. Room, base, horn type and Sounder Beacon |  |  | 1 |  |  | 1
A3.18
|  | Qty | 1 | 1 |  |  | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total
Provision of Maintenance Services for
Addressable Fire Detection Installations
SECTION A4 : PROVISIONAL CHARGES
Item | Description | Unit | Qty | Qty | Rate | Total | Qty
SECTION A4 : PROVISIONAL SUMS
4.1 | Call out (extra over cost to ELIDZ, inclusive of travelling, labour , overheads, etc)
4.1a | Emergency response | No. | 5 | 5 |  |  | 5
4.1b | Urgent response | No. | 20 | 20 |  |  | 20
4.1c | Routine response | No. | 60 | 60 |  |  | 60
4.2 | TRANSPORT & PLANT
4.2a | Hydraulic Platform | hr | 10 | 10 |  |  | 10
4.3 | Contingency & provisional Allowances
4.3 | Provide an amount for carrying out repair or replacements to Fire Detection & Alarm systems, AUTHORISED by the Clients Representative, of fire panels, detection devices, call points, line isolators, loop wiring, gas extinguishing units, maestro system, or any other faults or works that have been identified during inspections | Sum | 1 | 1 | 150000 | 150000 | 1
4.4.b | Profit and Attendance | %
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total
Addressable Fire Detection Installations
SUMMARY
Total
Item | Description
A.1. | Summary of P & General Items
A.2. | Summary of Routine Maintenance
A.3. | Summary of General Maintenance
A.4. | Summary of Provisional Sums
Year 1
Year 2 Escalated
Year 3 Escalated
Nett Tender Sum
Add VAT @ 15%
Gross Tender Sum