## BoQ Civil Infrastructure
Item No |  | Short Description | Unit | Qty | Rate | Total
| SABS 1200AA | Section A: Preliminary and General
A1 | 8.3 | Fixed Charges
A1.1 | 8.3.1 | Contractual requirements (Public Liability Insurance, Contract Surety, Regulatory Compliance etc.) | Sum | 1
A1.2 | 8.3.3 | General responsibilities and other fixed charge obligations | Sum | 1
Requirements to comply with OHSD:
A1.3 | ELIDZ OHS | Occupational Health and Safety Document. This includes training & OHSD Requirements. (Soft copy of the document will be required on USB on end of project) | Sum | 1
Requirements to comply with Environmental
A1.4 | ELIDZ CEMP | Initial compliance with Environmental requirements | Sum | 1
Staffing, Supervision and management costs:
A1.6 | PSAA 2 | Provide the following staff and equipment permanently on site during normal working hours to undertake various on-going maintenance tasks as directed by the Employer or Employer's Agent
A1.6.1 |  | 2 x 1 ton drop-side LDV | Month | 12
A1.6.2 |  | Driver/ Foreman | Month | 12
A1.6.3 |  | 5 x general labours | Month | 12
A1.6.4 |  | 1 x Artisan Building works (undertaken Building related Repairs) | Month | 12
A1.6.5 |  | 1 x Artisan Plumber (For leak detection and related repairs) | Month | 12
A1.6.6 |  | Related small tools and equipment to undertake minor building repairs | Sum | 1
A1.6.7 |  | Basic equipment. (spades, picks, rakes, brooms, wheelbarrows,) | Sum | 1
A1.6.8 |  | Specialist Equipment- Once-off purchase ( as per Employer/Employer Agent's Instruction):
A1.6.9 |  | Rodding irons (plumber's) with necessary attachments | m | 35
A1.6.10 |  | Brush cutter with nylon and blade attachments | no | 1
A1.6.11 |  | Outdoor Ultrasonic Leak Detector Used To Test Underground Pipes depth 5M (PQWT-L5000 or similar approved) | no | 1
A1.6.12 |  | AQUATEST T10​ SDR wireless Professional kit - Acoustic leak detection equipment. (Sewerin or similar approved | no | 1
A1.6.13 |  | 9hp Plate Compactor (120kg or better) | no | 1
A1.6.14 |  | Extra Over Item A1.6 for Overtime
A1.6.15 |  | Driver/Foreman | p/hr. | 50
A1.6.16 |  | 3 x general labours | p/hr. | 50
A1.6.17 |  | Rate per Km over and above 2000 km per month | km | 1000
A2 | 8.4 | Time-related Charges
| PSAA1 | All Time-related items shall be measured by the month and the tendered rate shall cover the total monthly cost of the relevant item as described.
A2.1 | 8.4.1 | Contractual requirements | Month | 12
A2.2 | 8.4.3 | General responsibilities and other time-related obligations | Month | 12
A2.3 | ELIDZ OHS | On-going compliance with Occupational Health and Safety requirements | Month | 12
A2.4 | ELIDZ CEMP | On-going compliance with Environmental requirements | Month | 12
Total for Section A Carried Forward to Summary
Section AA : Provisional Sums
A3 | 8.5 | Provisional Sums
A3.1 | PSAA3 | Provision of consumables as directed by the engineer | Prov Sum | 1 | 60000 | 60000
A3.2 |  | Mark-up on item A3.1 for Contractor's administrative cost and profit (state % and extend as an amount) | %
A3.3 | PSAA4 | Supply and emptying of 11m³ waste disposal skip | Prov Sum | 1 | 48000 | 48000
A3.4 |  | Mark up on Item A.3.3 for Contractor's administrative cost and profit (State % and extend as an amount) Not applicable where works are executed by the contractor. | %
A3.5 | PSAA5 | Allow for the acquisition and installation of stormwater drainage netting trash trap or any equivalent approved by the Employer's Agent, as well as to check, clean and remove all litter from stormwatter structures, especially after the rain. | Prov Sum | 1 | 200000 | 200000
A3.6 |  | Mark up on item A3.5 for the Contractor's administrative cost and profit (state % and extend as an amount) Not applicable where works are executed by the contractor. | %
A3.7 | PSAA6 | Allow for the services of Employer's Agent on the contract to plan, implement and control daily site activities - at the discretion of the ELIDZ | Prov. Sum | 12 | 82000 | 984000
A3.8 |  | Mark up on Item A3.7 for the Contractor's administrative cost and profit (State % and extend as an amount) Not applicable where works are executed by the contractor. | %
A3.9 | PSAA7 | Provide the following for the the contractor to undertake special locksmith services (supply of locks & key cutting) as directed by the Employer's Agent. | Prov. Sum | 1 | 100000 | 100000
A3.10 |  | Mark up on Item A3.9 for the Contractor's administrative cost and profit (State % and extend as an amount). Not applicable where works are executed by the contractor. | %
Total for Section AA Carried Forward to Summary
| PSM | Section B : Roadworks
B.1 | PSM 2.2 | Undertake inspection of road infrastructure and submit report for:
B.1.1 |  | 12 m wide roads in 30 m wide road reserve with sidewalks on both sides (Zone 1A & Zone 1B) | km | 25
B.1.2 |  | 12 m wide roads in 30 m wide road reserves with parking and sidewalks on both sides (Umsimbithi Road) | m | 1000
B.1.3 |  | 7,4 m wide roads in 20 m wide road reserves with sidewalks on both sides | km | 5.2
(Clean Once Per Quarter)
B.1.4 |  | Main entrance to Zone 1A including parking at administration buildings (concrete and asphalt) | Sum | 4
B.1.5 |  | Transportation area entrance and access road to Zone 1A (asphalt) (South of Harbour Arterial) | Sum | 4
B.1.6 |  | Transportation area block paved parking and asphalt access roads (North of Harbour Arterial) | Sum | 4
B.1.7 |  | Entrance and parking to HQ | Sum | 4
B.1.8 |  | Main entrance to Zone 1B and adjacent parking | Sum | 4
B.1.9 |  | Zone 1C tenant's parking | Sum | 4
B.1.10 |  | Main entrance to Zone 1D and adjacent parking | Sum | 4
B.1.11 |  | Cleaning kerblines on roads from debris, sand and/or any overgrown weeds. Zone 1A roads approx 14km L&RHS combined. | Sum | 4
B.1.12 |  | Cleaning kerblines on roads from debris, sand and/or any overgrown weeds. Zone 1B roads approx 4km L&RHS combined. | Sum | 4
B.1.13 |  | Cleaning kerblines on roads and parkinng areas from debris, sand and/or any overgrown weeds. Zone 1C roads approx 2km L&RHS combined. | Sum | 4
B.1.14 |  | Cleaning kerblines on roads from debris, sand and/or any overgrown weeds. Zone 1D roads approx 3km L&RHS combined. | Sum | 4
B.2 | PSM 3 | Unscheduled work:
B.2.1 | PSM 3.1 | Sweeping and Cleaning of Roads in the event of unforseen spills | m2 | 1000
B.2.2 | PSM 3.2.1 | Allow for possible minor ad-hoc road/pothole repairs as instructed by the engineer | Prov Sum | 1 | 200000 | 200000
B.2.3 |  | Mark up on Item B.2.2. for the Contractor's administrative cost and profit (State % and extend as an amount) Not applicable if works are executed by the contractor. | %
B.2.4 | PSM 3.2.5 | Allow for possible road reconstruction, including removal and new bases courses, removal and new 40mm tar layer as instructed by the Employer's Agent | Prov Sum | 1 | 700000 | 700000
B.2.5 |  | Mark up on Item B.2.4. for the Contractor's administrative cost and profit (State % and extend as an amount) Not applicable if works are executed by the contractor | %
B.2.6 | PSM 3.2.2 | Sealing of cracks
B.2.6.1 |  | Establish applicable personnel, plant and equipment on site | Sum | 1
Seal cracks in road surface:
B.2.6.2 |  | a) Cracks with width not exceeding 3,0 mm | m | 10
B.2.6.3 |  | b) Cracks with width of 3,0 mm or greater | m | 50
B.2.6 | PSM 3.2.3 | Rejuvenation spray
B.2.7.1 |  | Establish applicable personnel, plant and equipment on site | Sum | 1
B2.7.2 |  | Apply fog spray using 30% spray grade emulsion | litre | 25
B.2.7.3 |  | Apply fog spray using 40% spray grade emulsion | litre | 25
B.2.7.4 |  | Apply fog spray using 50% spray grade emulsion | litre | 25
B.2.7.5 |  | Apply fog spray using 60% spray grade emulsion | litre | 25
B.2.8 | PSM 3.2.4 | Overlay with Slurry Seal
B.2.8.1 |  | Establish applicable personnel, plant and equipment on site for slurry application by hand | Sum | 1
B.2.8.2 |  | Prepare and prime surface and apply slurry by hand | m2 | 150
B.2.8.3 |  | Establish applicable personnel, plant and equipment on site for slurry application using mechanical spreader | Sum | 1
B.2.8.4 |  | Prepare and prime surface and apply slurry by mechanical spreader | m2 | 100
| PSJ | SEGMENTED PAVING
B.3 | PSMJ 1 | RECONSTRUCTION OF SIDEWALKS
B.3.1 | PSMJ 2 | RE-SETTING OF PAVERS AND EDGE UNITS
B.3.1.1 | PSMJ 1 | Reconstruct sidewalks using existing pavers | m2 | 200
B.3.1.2 |  | Extra over item B.3.1.1 for the supply of additional pavers | m2 | 200
B.3.1.3 |  | Extra over item B.3.8.1 for bedding edge units in concrete | m | 100
B.3.1.4 | PSMJ 2 | Re-laying of sidewalks using existing pavers | m2 | 200
B.3.1.5 |  | Extra over item B.3.1.4 for the supply of additional pavers | m2 | 100
B.3.1.6 |  | Extra over item B.3.1.4 for bedding edge units in concrete | m | 100
B.3.1.7 | PSMJ 3 | Reconstruct 80 mm thick type SA interlocking paving on 25 mm thick sand bed using existing pavers to match existing colours | m² | 300
B.3.1.8 |  | Extra over item B.3.1.7 for the supply of additional pavers | m² | 200
B.3.1.9 | PSMJ 4 | Relaying 80 mm thick type SA interlocking paving on 25 mm thick sand bed using existing pavers to match existing colours | m² | 500
B.3.1.10 |  | Extra over item B.3.1.9 for the supply of additional pavers | m² | 40
B.3.1.11 |  | Cutting units to fit edge restraints | m | 20
| PSMK | Kerbs and Channels:
B.4 | PSMK 4 | REPLACEMENT OF KERBS AND CHANNELS
B.4.1 | PSMK 4.1 | Remove and replace existing precast concrete kerbs and channels laid on concrete bedding:
B.4.1.1 |  | a) Figure 3 barrier kerbs only | m | 50
B.4.1.2 |  | b) Figure 3 barrier kerbs and figure 14 channels combined | m | 20
B.4.1.3 |  | c) Figure 14 channels only | m | 10
B.4.1.4 |  | d) Figure 14 double channels at vehicle entrance | m | 20
B.4.1.5 |  | Allow to drill 2 x Y20 x 500mm long steel dowels per kerb, into existing hard stands and existing Figure 3 half kerbs. Including approved epoxy | m | 500
B.4.1.6 |  | Allow to drill 2 x Y20 x 500mm long steel dowels per kerb, into existing hard stands and new Figure 3 half kerbs. Including approved epoxy | m | 500
Remove Fig 14 channels and replace with concrete
B.4.1.7 |  | Remove Figure 14 double channels at vehicle entrance, prepare and lay new 30Mpa concrete in panels including 245 mesh | m | 80
B.5 | PSMK 5 | REPAIR OF KERBS AND CHANNELS
B5.1 |  | Allowance is included to repair existing kerbs and channels that have been slightly damaged, but do not warrant replacement,in an approved manner using a proprietary epoxy mortar. | Prov Sum | 1 | 10000 | 10000
B5.2 |  | Mark up on item B 5.1 for the Contractor's administrative cost and profit (state % and extend as an amount) Not applicable if works are undertaken by the contractor | %
B.6 | PSMM | ANCILLARY ROADWORKS
B.6.1 | PSMM 1 | Provision of steel poles to support road sign, hot dip galvanized to SABS763 | No.
B.6.2 | PSMM2 | Supply and traffic signs
B.6.2.1 |  | Stop signs (600 mm) | No.
B.6.2.2 |  | Yield signs (600 mm) | No.
B.6.2.3 |  | Speed restriction signs (600 mm) | No.
B.6.2.4 |  | Speed Hump Signs | No.
B.6.2.5 |  | Road Reflectors inclusive of coring, epoxy, etc. | No.
B.7 | PSMM 3 | ROAD MARKINGS
B.7.1 |  | Re-marking of existing lines and symbols using non-reflectorized paint:
B.7.1.1 |  | 100 mm wide white lines | m | 6000
B.7.1.2 |  | 100 mm wide yellow lines | m | 14000
B.7.1.3 |  | White characters and symbols | m2 | 20
B.7.1.4 |  | Yellow characters and symbols | m2 | 10
B.7.1.5 |  | Traffic island markings (any colour) | m2 | 100
B.8 |  | SPEED BUMPS
B.8.1 |  | Supply and install rubber speed breakers/ramps min size 450mm Wide x 50mm High covering full breath of the road (@ 10m edge-to-edge) | m | 60
Total for Section B Carried Forward to Summary
| SABS | Section C : Water Supply
1200L
C.1 |  | Unscheduled maintenance work:
C.1.1 | PSL 2 | Excavate, expose existing water pipeline and attend/repair broken uPVC class 9 water mains, ranging from 160 to 400mm dia.
| PSDA 1 | Excavation 700mm wide
C.1.1.1 |  | Exceeding 0.0m but not exceeding 1.2m | m | 6
C.1.1.2 |  | Exceeding 1.2m but not exceeding 2.0m | m | 6
C.1.1.3 | PSDA 3 | Spoiling of unsuitable materials | m³ | 12
C.1.1.4 | PSDA 7 | Quarry approved bedding material including compacting in accordance with SANS 1200 | m³ | 12
C.1.1.5 | PSDA 7 | Quarry Approved Backfill materials including compacting in accordance with SANS 1200 | m³ | 12
C.1.1.6 | 3.2.1 | Selected backfill material removed from excavation including compacting in accordance with SANS 1200 | m³ | 12
| PSL 2.1 | Lay, joint pipes to required level and test pipes for the following diameters and type of pipes
C.1.1.7 |  | 160mm Dia Upvc Class 9 | m | 6
C.1.1.8 |  | 200mm Dia Upvc Class 9 | m | 6
C.1.1.9 |  | 250mm Dia Upvc Class 9 | m | 6
C.1.1.10 |  | 315mm Dia Upvc Class 9 | m | 6
C.1.1.11 |  | 400mm Dia Upvc Class 9 | m | 6
Bends, tees, reducers, adaptors, fire hydrant tees.
C.1.1.12 |  | 160mm dia. Socketed | No | 2
C.1.1.13 |  | 200mm dia. Socketed | No | 2
C.1.1.14 |  | 250mm dia. Socketed | No | 2
C.1.1.15 |  | 315mm dia. Socketed | No | 2
C.1.1.16 |  | 400mm dia. Socketed | No | 2
C.1.1.17 |  | 160mm dia. Flanged | No | 2
C.1.1.18 |  | 200mm dia. Flanged | No | 2
C.1.1.19 |  | 250mm dia. Flanged | No | 2
C.1.1.20 |  | 315mm dia. Flanged | No | 2
C.1.1.21 |  | 400mm dia. Flanged | No | 2
C.1.1.22 |  | Extra Over item E1.1 for emergency response to call-out | No. | 5
C.1.1.23 |  | Extra Over item E2 for urgent response to call-out | No. | 5
C.2 | PSL2.2 | Provide precast concrete elements of chambers on valve and hydrant boxes: (installation measured elsewhere)
C.2.1 |  | Concrete lids | No. | 20
C.2.2 |  | Concrete box segments | No. | 10
C.3 | PSL2.3 | Remove existing defective or damaged fittings and replace with new fittings:
C.3.1 |  | Cast iron resilient seal isolating valves with socketed ends
C.3.1.1 |  | 160 mm diameter class 12 | No. | 2
C.3.1.2 |  | 200 mm diameter class 12 | No. | 2
C.3.2 |  | 75 mm diameter cast iron bayonet lug type hydrant outlet | No. | 10
C.4 | PSL 2.4 | supply Ester Kent Water Meter; complete with amr readers, etc.
C.4.1 |  | 25mm brass meter | No. | 2
C.4.2 |  | 35mm brass meter | No. | 5
| PSL 2.4 | supply Ester Kent Water Meter H4000 Series; complete with amr readers, etc.
C.4.3 |  | 40mm dual flange meter | No. | 2
C.4.4 |  | 50mm dual flange meter | No. | 5
C.4.5 |  | 80mm dual flange meter | No. | 1
C.4.6 |  | 80mm combination dual flange meter | No. | 2
Total for Section C Carried Forward to Summary
| SABS 1200LD | Section D : Sewers
D1 | PSLD 2 | Unscheduled maintenance work:
D.1.1 | PSLD 2.3 | Excavate, expose existing sewer pipeline and repair broken uPVC class 34 sewer pipes,
| PSDA 1 | Excavation 700mm wide
D.1.1.1 |  | Exceeding 0.0m but not exceeding 1.2m | m | 6
D.1.1.2 |  | Exceeding 1.2m but not exceeding 2.0m | m | 6
D.1.1.3 | PSDA 3 | Spoiling of unsuitable materials | m³ | 12
D.1.1.4 | PSDA 7 | Quarry approved bedding material including compacting in accordance with SANS 1200 | m³ | 15
D.1.1.5 | PSDA 7 | Quarry Approved Backfill materials including compacting in accordance with SANS 1200 | m³ | 15
D.1.1.6 | 3.2.1 | Selected backfill material removed from excavation including compacting in accordance with SANS 1200 | m³ | 15
Pipe & Fittings
D.1.1.7 |  | 160 Ø Class 34 uPVC Pipe | m | 6
D.1.1.8 |  | 160 Ø Class 34 uPVC coupling | No | 2
D.1.1.9 |  | 160 Ø Class 34 uPVC 22deg bends | No | 2
D.1.1.10 |  | 160 mm Kimberley Socket (dedicated) | No | 2
D.1.1.11 |  | 200 Ø Class 34 uPVC Pipe | m | 6
D.1.1.12 |  | 200 Ø Class 34 uPVC Coupling | No | 2
D.1.1.13 |  | 200 Ø Class 34 uPVC 22deg Bends | No | 2
D.1.1.14 |  | 200 mm Kimberley Sockets. (dedicated) | No | 2
D.1.1.15 |  | 315 Ø Class 34 uPVC Pipe | m | 6
D.1.1.16 |  | 315 Ø Class 34 uPVC Coupling | No | 2
D.1.1.17 |  | 315 Ø Class 34 uPVC 22deg Bends | No | 2
D.1.1.18 |  | 315 mm Kimberley Sockets. (dedicated) | No | 2
D.1.2 | PSLD2.1 | Clear blockages in uPVC sewer pipes with diameters varying from 160 mm up to 315 mm:
D.1.2.1 |  | Using mechanical jetting | No. | 10
D.1.2.2 |  | Extra Over items D1.2.1 for emergency response to call-out | No. | 1
D.1.2.3 |  | Extra Over items D1.2.2 for urgent response to call-out | No. | 1
| PSLD2.2 | Manhole repairs:
D.1.3 |  | Provide materials required to undertake various repairs to existing manholes as directed by the engineer
D.1.3.1 |  | 1200 mm diam slab with steel ring for precast concrete lid | No. | 1
D.1.3.2 |  | 1200 mm diam slab with cast iron frame for Type 2A cast iron lid | No. | 1
D.1.3.3 |  | 900 mm diam slab with steel ring for precast concrete lid | No. | 1
D.1.3.4 |  | 900 mm diam slab with cast iron frame for Type 2A cast iron lid | No. | 1
D.1.3.5 |  | Replace broken or missing manhole lids:
D.1.3.6 |  | 560 mm diameter precast concrete lid with GMS surround | No. | 10
D.1.3.7 |  | Cast iron type 2A lid | No. | 5
| PSLD2.2 | Provide materials required to seal joints between precast rings:
D.1.3.8 |  | On 1200 mm diameter shaft sections | No. | 5
D.1.3.9 |  | On 900 mm diameter shaft sections | No. | 5
Total for Section D Carried Forward to Summary
Section E : Storm water
| PSLE | STORM-WATER DRAINAGE
| PSLE 2 | UNSCHEDULED MAINTENANCE OF STORM-WATER
E.1 | PSLE 2.2 | Minor Repair Work
E.1.1 | PSLE 2.2.3 | Repairs to storm water structures:
E.1.1.1 |  | Reconstruction of portions of 230 mm thick plastered brick structures | m2 | 10
E.1.1.2 |  | Replace 1360 x 1200 x 125 mm thick manhole cover slabs with recess to suit 600 mm diam circular precast concrete lid | No. | 4
E.1.1.3 |  | Replace 1200 x 1200 x 125 mm thick triangular kerb inlet cover slabs with galvanised steel channel edging | No. | 4
E.1.1.4 |  | Replace 1200 x 1200 x 125 mm thick rectangular kerb inlet cover slabs with galvanised steel channel edging | No. | 4
E.1.1.5 |  | Replace 600 mm diameter circular precast concrete manhole lids with galvanised steel surround | No. | 10
E.1.2 | PSLD2.1 | Clear blockages or clean Stormwater pipes with diameters varying from 100 mm up to 450 mm:
E.1.2.1 |  | Using mechanical jetting | No. | 10
E.1.2.2 |  | Extra Over items E1.2.1 for emergency response to call-out | No. | 1
E.1.2.3 |  | Extra Over items E1.2.2 for urgent response to call-out | No. | 1
(Cut Once In Every 2 Months)
E.1.2.4 |  | Grass cutting at all 1tormwater structures and access roads leading to such structure or culvert - Zone 1A - Structure 1 up to 11 (approx 2000m2 combined) | No. | 6
E.1.2.5 |  | Ditto Zone 1B but to 3no. Structures (approx 400m2 combined) | No. | 6
E.1.2.6 |  | Ditto Zone 1C but to 2no. Structures (approx 250m2 combined) | No. | 6
E.1.2.7 |  | Ditto Zone 1D but to 1no. Structures (approx 50m2 combined) | No. | 6
Total for Section E Carried Forward to Summary

## Sectional Totals
SUMMARY OF BILLS OF QUANTITIES |  |  | BOQ Summary
Section | Description
Section A : | Preliminary and General
Section AA: | Provisional Sums
Section B : | Roadworks
Section C : | Water supply
Section D : | Sewers
Section E : | Storm Water
Net Total of Tender for year 1 |  |  | R
Net Total of Tender for year 2 (Escalated) |  | % | R
Sub-total |  |  | R
Add: 15% Vat |  |  | R
Gross Tender Sum |  |  | R