## BOQ
East London Industrial Development Zone (SOC) Ltd
AIR CONDITIONING AND VENTILATION INSTALLATIONS
SECTION A |  |  |  | Contract Amount
REPLACEMENT OF AIRCONDITIONING UNITS (PHASE II - VRF2 OUTDOOR UNITS)
Item | Description | Unit | Qty | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of Surety N/A (To deduct 10% retention on each payment certificate) | N/A | N/A | N/A | N/A
A1.1.2 | Provision of Insurances | Months | 9
A1.1.3 | Staff (PPE) Personal Protective Equipment | Months | 9
A1.1.4 | Staff Induction | Months | 9
A1.1.5 | OHS Compliance Method Statement | Months | 9
A1.1.6 | CEMP Compliance Method Statement | Months | 9
A1.1.7 | Provision of Electronic Maintenance Manual | Months | 9
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Provide suitably qualified and certified personnel (approved qualifications recognised in South Africa and Daiken certified), transport, tools and equipment, including requests for quotations for unscheduled works | Months | 9
A2.1.2 | Monthly overheads & administration charges | Months | 9
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
SECTION B1 : REPLACEMENT OF VRF2 OUTDOOR UNITS
Replacement of VRF2 Outdoor units (inclusive of all labour, equipment, transport and related costs)
AIR-CONDITIONING
B1.1 | Take out existing VRF 2 outdoor units
B1.1.1 | VRV II outdoor units | No. | 40
B 1.2 | Installation (Air Conditioning)
Install VRV Q R410a Outdoor units (inclusive of all labour, equipment, transport and related costs) complete with - condensate pump, bluechem treatment, electrical supply and outdoor condensor, copper piping and approved gas. This would include the safe removal of any redundant equipment being replaced.
B1.2.1 | Supply and fit new condensor (Model REYQ14U) | No. | 20
B1.2.2 | Supply and fit new BS Box (Model BS16Q14AV1B) | No. | 1
B1.2.3 | Apply anti-corrossion treatment | No. | 1
B1.2.4 | Supply and fit new condensor (Model REYQ10U) | No. | 5
B1.2.5 | Supply and fit new BS Box (Model BS8Q14AV1B) | No. | 1
B1.2.6 | Apply anti-corrossion treatment | No. | 1
B1.2.7 | Supply and fit new condensor (Model REYQ12U) | No. | 5
B1.2.8 | Supply and fit new BS Box (Model BS8Q14AV1B) | No. | 1
B1.2.9 | Apply anti-corrossion treatment | No. | 1
B1.2.10 | Supply and fit new condensor (Model REYQ8U) | No. | 5
B1.2.11 | Supply and fit new BS Box (Model BS8Q14AV1B) | No. | 1
B1.2.12 | Apply anti-corrossion treatment | No. | 1
B1.2.10 | Supply and fit new condensor (Model RXYQ14U) | No. | 5
B1.2.11 | Supply and fit new BS Box (Model BS12Q14AV1B) | No. | 8
B1.2.12 | Apply anti-corrossion treatment | No. | 8
B1.2.14 | Replace ceiling cassette unit_DAIKEN inverter cassette split 5.7 kW (approximately 19448 btu) | No. | 34
B1.2.15 | Replace window unit (approximately 21000 btu) | No. | 1
B1.2.16 | Replace under ceiling unit (approximately 12000 btu) | No. | 3
B1.2.17 | Replace wall mounted remote with Daiken wall mounted stylish remote controller (BRC1H62W/K) | No. | 3
B1.2.18 | Replace VRF hideaway unit (FXMQ63PAVE) | No. | 6
B1.2.19 | Replace mid wall split unit 6.21 kW (approximately 21189 btu) | No. | 2
B1.2.20 | Replace extraction fan (450mm industrial unit) | No. | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : PROVISIONAL SUMS
C1.1 | Contingencies & Provisional Allowance
C1.1.1 | Carry out repairs or replacements to Air-conditioning and Ventilation, AUTHORISED by the Clients Representative, of compressors, coils, refrigeration and drainage pipework, circuits, motors, fans, filters, louvers, attenuators, fire dampers and grilles, heaters, electrical, thermostats, controls, sound, vibration isolators, duct work, alarms, humidifiers, casing and frames, or any other faults identified during inspections. | Sum | 1 | 500000
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
SUMMARY OF CHARGES
| SECTION A1 : ANNUAL CHARGES |  |  |  | 0
| SECTION A2 : MONTHLY CHARGES |  |  |  | 0
| SECTION B1 : ROUTINE MAINTENANCE |  |  |  | 0
| SECTION C1 : PROVISIONAL SUMS |  |  |  | 0
Nett Tender Sum
Total for 6 months contract
Add VAT @ 15%
Gross Tender Sum carried to Form of Offer