## Unpriced BOQ
ELIDZ - FIRE PREVENTION - 2024 TENDER
THIS PAYMENT
SCHEDULE 1 : PRELIMINARY & GENERAL ITEMS |  |  |  | Tender Price
Item | Description | Unit | Qty | Rate | Nett Amount
1 | PRELIMINARY & GENERAL
1.1 | Annual Contractual Items
1.1.1 | Provision of Sureties | Years | 3
1.1.2 | Provision of Insurances e.g. Contractor's All Risks, Public Liability, Plant and Equipment, Common Law Liability, etc. | Years | 3
1.1.3 | Allowance for Compliance with Construction Regulations, as detailed in Occupational Health & Safety Act, Act 85 of 1993 | Years | 3
1.1.4 | Provision of Compliance Certificates | Years | 3
1.2 | Monthly Contractual Items
1.2.1 | Monthly overheads & administration charges | month | 36
1.2.2 | Other items not detailed above : specify _____________________________________________________________________________________________________________________________________________ | month | 1
TOTAL FOR SCHEDULE 1 CARRIED FORWARD TO SUMMARY
ELIDZ - FIRE PREVENTION - 2024 TENDER
SCHEDULE 2 : ROUTINE MAINTENANCE |  |  |  | Tender Price
Item | Description | Unit | Qty | Rate | Nett Amount
2 | ROUTINE MAINTENANCE
Carry out inspections, repairs and servicing as detailed in the Scope of Works
2.1 | Scheduled Work - Installation Inspection
2.1.1 | Initial visual inspection at commencement of approximately 318 Fire Exinguishers, 71 Fire Hose Reels, 2 Portable Foam Equipment (Mobile Trolly Foam Extinguishers), 15 weatherproof enclosures, 39 Fire Hydrants and submit a verifiable asset register and condition report. | sum | 1
2.2 | Scheduled Work - Monthly Inspection
Monthly visual inspection of approximately 370 Fire Exinguishers, 71 Fire Hose Reels, 2 Portable Foam Equipment (Mobile Trolly Foam Extinguishers), 15 weatherproof enclosures, 52 Fire Hydrants and submit a condition report reflecting all assets.
2.2.1 | Inspecting 2kg dry powder portable extinguishers (12 x 36) | no. | 432 |  |  | 1
2.2.2 | Inspecting of 4,5kg CO2 portable extinguishers (78 x 36) | no. | 2840
2.2.3 | Inspecting of 5kg CO2 portable extinguishers (206 x 36) | no. | 7418
2.2.4 | Inspecting 9kg DCP portable extinguishers (69 x 36) | no. | 2497
2.2.5 | Inspecting 9L Water expelled foam portable extinguishers (2 x 36) | no. | 72
2.2.6 | Inspection of Galvanised fire hose reels with 30m hose and galvanised wall mounting brackets C/W holder bracket on chain with wheel for hose, shut off ball valve and aluminum nozzle (68 x 36) | no. | 2461
2.2.7 | Monthly inspection of Internal and External Fire Hydrants, valves, pipework, gauges, etc. (52 x 36) | no. | 1872
2.2.8 | Inspection of Weather proof fibreglass or poly carbonate fire extinguisher enclosures including cover for mounting of fire hose reels C/W padlocks and key holders (15 x 36) | no. | 552
2.2.9 | Monthly Inspection of fire boosters (51 x 36) | no. | 1836
2.3 | Scheduled Work - Annual Servicing
Annual servicing of approximately 318 Fire Exinguishers, 71 Fire Hose Reels, 2 Portable Foam Equipment (Mobile Trolly Foam Extinguishers), 15 weatherproof enclosures, 39 Fire Hydrants and submit a condition report reflecting all assets.
2.3.1 | Annual Servicing of 2kg dry powder portable extinguishers (12 x 3) | no. | 36
2.3.2 | Annual Servicing of 4,5kg CO2 portable extinguishers (82 x 3) | no. | 246
2.3.3 | Servicing of 5kg CO2 portable extinguishers (216 x 3) | no. | 648
2.3.4 | Annual Servicing of 9kg DCP portable extinguishers (69 x 3) | no. | 207
2.3.5 | Annual Servicing of 9L Water expelled foam portable extinguishers (2 x 3) | no. | 6
2.3.6 | Annual Servicing of Galvanised fire hose reels with 30m hose and galvanised wall mounting brackets C/W holder bracket on chain with wheel for hose, shut off ball valve and aluminum nozzle (72 x 3) | no. | 216
2.3.7 | Provide flow test certificates of 30 litres/minute for each hose reel (71 x 3) | no. | 213
2.3.8 | Annual Servicing of Internal and External Fire Hydrants, valves, pipework, gauges, etc, using appropriate tooling and testing equipment (52 x 3) | no. | 156
2.3.9 | Provide flow test certificates of 1200 litres/minute for each hydrant (52 x 3) | no. | 156
2.3.10 | Annual Inspection Service of Weather proof fibreglass or poly carbonate fire extinguisher enclosures including cover for mounting of fire hose reels C/W padlocks and key holders (15 x 3) | no. | 45
2.3.10 | Annual Inspection and Service of fire boosters (51 x 3) | no. | 153
2.4 | Un-scheduled Work - Pressure Testing
2.4.1 | Respond to call-outs for attending to fire prevention faults where requested to do so | no. | 36
2.4.2 | Carry out 5 years Service and Pressure testing of portable fire extinguishers (Provisional) | no. | 84
2.4.3 | Carry out 10 years Service and Pressure testing of portable fire extinguishers (Provisional) | no. | 45
TOTAL FOR SCHEDULE 2 CARRIED FORWARD TO SUMMARY
ELIDZ - FIRE PREVENTION - 2024 TENDER
SCHEDULE 3 : UNSCHEDULED MAINTENANCE
Item | Description | Unit | Qty | Rates
|  |  |  | Rates | Nett Amount
3 | SCHEDULED NEW WORKS
3.1 | Installation of additional Fire Extinguishers - 9kg DCP at areas where coverage is deemed below specification | no. | 40
3.2 | Mounting boards / brackets and signage for additional fire extinguishers | no. | 40
3.3 | Installation of additional Fire Hose Reels at areas where coverage is deemed below specification | no. | 20
3.4 | Plumbing and pipework for Additional Hose reels, assuming 10m per installation, including mountings and signage | no. | 20
3.5 | Installation of pressure gauges on internal and external Fire Hydrants | no. | 50
3.6 | Replacement of Weather proof fibreglass or poly carbonate fire extinguisher enclosures C/W padlocks and key holders | no. | 10
3.7 | Replacement of Weather proof fibreglass or poly carbonate Hose Reel covers | no. | 10
3.8 | Certification servicing of Internal and External Fire Hydrants, as required, to be undertaken by certified specialist with appropriate tooling and testing equipment | no. | 39
3.9 | Installation of SABS approved signage | no. | 80
3.10 | Replacement of condemned fire hose reels | no. | 20
TOTAL FOR SCHEDULE 2 CARRIED FORWARD TO SUMMARY
SCHEDULE 3: CONTINGENCY ITEMS |  |  |  | Tender Price
Item | Description | Unit | Qty | Rates | Nett Amount
Supply
4 | CONTINGENCY ITEMS
4.1 | Related repair / servicing / installation / additional work required, as authorised by the client representative, not specifically detailed in Schedules 2 or 3 above | sum | 1 | 200000 | 200000
4.2 | Profit and attendance (%) | sum | 1
TOTAL FOR SCHEDULE 4 CARRIED FORWARD TO SUMMARY
COSTING SUMMARY
1 | PRELIMINARY & GENERAL
2 | ROUTINE MAINTENANCE
3 | SCHEDULED NEW WORKS
4 | CONTINGENCY ITEMS
Sub-Total
Add 15% VAT
TOTAL FOR 3 YEAR CONTRACT