## BOQ (hidden)
East London Industrial Development Zone (SOC) Ltd | [5 empty] | 2023 Escalation | 2024 Escalation
PROVISION OF MAINTENANCE & REPAIR & REPLACEMENT SERVICES
TO THE FIRE SPRINKLER INSTALLATIONS
SECTION A |  |  |  | Contract Amount
Item | Description | Unit | Qty | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of Surety | Year | 1 | 29800 | 29800 | 33376 | 37381.12
A1.1.2 | Provision of Insurances | Year | 1 | 110000 | 110000 | 123200 | 137984
A1.1.3 | Staff (PPE) Personal Protective Equipment | Year | 1 | 15000 | 15000 | 16800 | 18816
A1.1.4 | Staff Induction | Year | 1 | 8500 | 8500 | 9520 | 10662.4
A1.1.5 | OHS Compliance Method Statement | Year | 1 | 6500 | 6500 | 7280 | 8153.6
A1.1.6 | CEMP Compliance Method Statement | Year | 1 | 5500 | 5500 | 6160 | 6899.2
A1.1.7 | Provision of Electronic Maintenance Manual | Year | 1 | 25000 | 25000 | 28000 | 31360
0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 200300
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Provide suitably qualified and certified personnel (approved qualifications recognised by ASIB), transport, tools and equipment, including requests for quotations for unscheduled works | Months | 12 | 48000 | 576000 | 53760 | 60211.2
A2.1.2 | Monthly overheads & administration charges | Months | 12 | 25800 | 309600 | 28896 | 32363.52
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 885600
SECTION B1 : ROUTINE MAINTENANCE
Routine maintenance (inclusive of all labour, equipment, transport and related costs)
SPRINKLER INSTALLATIONS - QUARTERLY INSPECTIONS
B1.1 | Quarterly Services (Inspections, checks, cleaning and testing) Sprinkler installations Systems.
B1.1.1 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B1.1.2 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE4 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B1.1.3 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Caravelle | service | 1 | 19800 | 19800 | 22176 | 24837.12
B1.1.4 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Fehrer) | service | 1 | 19800 | 19800 | 22176 | 24837.12
B1.1.5 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW4 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B1.1.6 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW6 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B1.1.7 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW8 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B1.1.8 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW9 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.9 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE2 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.10 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE4 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.11 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE5 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.12 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE6 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.13 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.14 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.15 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at TA1 and TA2 (Tugger Route) | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.16 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE1 (Sprinkler Pump Room) | service | 1 | 35900 | 35900 | 40208 | 45032.96
B.1.1.17 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CW1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.18 | Carry out inspection and submit a compliance and condition report for the entire Sprinkler Main from the Pump Room to the various sprinkler valves | service | 1 | 55000 | 55000 | 61600 | 68992
B.1.1.20 | Carry out inspection and submit a compliance and condition report for the entire Sprinkler Pump Room and Sprinkler Water Tanks | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.21 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.22 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CE 1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.23 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at EW 1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.24 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at FW 1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.25 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GW 1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.26 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GE 1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.27 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HW 1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.28 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HS 1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.29 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HE 1 | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.30 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Sundale Dairy | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.31 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Froetek | service | 1 | 19800 | 19800 | 22176 | 24837.12
B.1.1.32 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Automould | service | 1 | 19800 | 19800 | 22176 | 24837.12
ASIB INSPECTIONS
| Sum allowance for six monthly ASIB installation inspection for the entire ASP sprinkler installations | Sum | 2 | 35000 | 70000 | 39200 | 43904
| Attendance on ASIB Inspector during six monthly inspection including submission of all documentation required for compilation of inspection report by ASIB | Sum | 2 | 35000 | 70000 | 39200 | 43904
| Sum allowance for yearly ASIB installation inspection for the entire ASP sprinkler installations | Sum | 1 | 140000 | 140000 | 156800 | 175616
| Attendance on ASIB Inspector during yearly inspection including submission of all documentation required for compilation of inspection report by ASIB | Sum | 1 | 45000 | 45000 | 50400 | 56448
B1.2 | Monthly Services (Inspections, checks, cleaning and testing) Sprinkler Installation Systems. SPRINKLER CONTROL VALVES
B1.2.1 | BUTTERFLY VALVES | service | 4 | 450 | 1800 | 504 | 564.48
B1.2.2 | SPRINKLER AND PIPING | service | 4 | 2100 | 8400 | 2352 | 2634.24
B1.2.3 | ALARM VALVES (WET VALVES) | service | 4 | 1800 | 7200 | 2016 | 2257.92
B1.3 | Weekly Services (Inspections, checks, cleaning and testing) Fire Sprinkler Systems. SPRINKLER PUMPS AND TANKS
B1.3.1 | BUTTERFLY VALVES | service | 4 | 450 | 1800 | 504 | 564.48
B1.3.2 | CONTROL PANELS | service | 4 | 1500 | 6000 | 1680 | 1881.6
B1.3.3 | FUEL SYSTEMS | service | 4 | 950 | 3800 | 1064 | 1191.68
B1.3.4 | WATER COOLING SYSTEM | service | 4 | 650 | 2600 | 728 | 815.36
0
B1.3.5 | PUMP ROOM GENERAL | service | 4 | 550 | 2200 | 616 | 689.92
B1.3.6 | OPERATIONAL PUMP CHECKS | service | 4 | 1200 | 4800 | 1344 | 1505.28
B1.3.7 | WATER TANKS | service | 4 | 1200 | 4800 | 1344 | 1505.28
|  | sum |  | 0 | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 1033500
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE
C1 | General Maintenance (inclusive of 24 hour response with ELIDZ control and security office)
Supply, delivery to site and installation of SANS. 62 Medium Grade pipework primed and painted to specification including cutting, reaming and threading or butt welding
STRAIGHT PIPE LENGTHS
C1.1 | 15 NB | p/m | 1 | 550 | 550 | 616 | 689.92
C1.2 | 20 NB | p/m | 1 | 590 | 590 | 660.8 | 740.096
C1.3 | 25 NB | p/m | 1 | 690 | 690 | 772.8 | 865.536
C1.4 | 32 NB | p/m | 1 | 780 | 780 | 873.6 | 978.432
C1.5 | 40 NB | p/m | 1 | 875 | 875 | 980 | 1097.6
C1.6 | 50 NB | p/m | 1 | 990 | 990 | 1108.8 | 1241.856
C1.7 | 65 NB | p/m | 1 | 1200 | 1200 | 1344 | 1505.28
C1.8 | 80 NB | p/m | 1 | 1350 | 1350 | 1512 | 1693.44
C1.9 | 100 NB | p/m | 1 | 2100 | 2100 | 2352 | 2634.24
C1.10.1 | 150 NB | p/m | 1 | 3100 | 3100 | 3472 | 3888.64
C1.10.2 | 200 NB | p/m | 1 | 4500 | 4500 | 5040 | 5644.8
C1.10.3 | 250 NB | p/m | 1 | 5100 | 5100 | 5712 | 6397.44
C1.11 | 300 NB | p/m | 1 | 6800 |  | 7616 | 8529.92
C1.11.1 | 350 NB | p/m | 1 | 7900 | 7900 | 8848 | 9909.76
PIPE COUPLINGS AND FLANGES
Cut and grove pipe ends for "Klambon" or equal and approved coupling
C.1.12 | 50 NB | number | 1 | 1296 | 1296 | 1451.52 | 1625.7024
number
C1.12.1 | 65 NB | number | 1 | 2050 | 2050 | 2296 | 2571.52
|  | number |  | 0 | 0
C1.12.2 | 80 NB | number | 1 | 2970 | 2970 | 3326.4 | 3725.568
number
C1.12.3 | 100 NB | number | 1 | 3270 | 3270 | 3662.4 | 4101.888
|  | number |  |  | 0
C1.13 | 150 NB | number | 1 | 4038 | 4038 | 4522.56 | 5065.2672
number
C1.13.1 | 200 NB | number | 1 | 8900 | 8900 | 9968 | 11164.16
Supply and install "Klambon" or equal and approved pipe coupling
C.1.14 | 50 NB | number | 1 | 120 | 120 | 134.4 | 150.528
number
C.1.14.1 | 65 NB | number | 1 | 180 | 180 | 201.6 | 225.792
number
C.1.14.2 | 80 NB | number | 1 | 200 | 200 | 224 | 250.88
number
C.1.14.3 | 100 NB | number | 1 | 290 | 290 | 324.8 | 363.776
|  | number |  |  | 0
C.1.14.4 | 150 NB | number | 1 | 310 | 310 | 347.2 | 388.864
number
C.1.14.5 | 200 NB | number | 1 | 400 | 400 | 448 | 501.76
Replace Klambon coupling seals including breaking and remaking of joint, draining of system measured elsewhere
C.1.15 | Replace 50 NB coupling seal | number | 1 | 120 | 120 | 134.4 | 150.528
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 53869 | 67949.28 | 76103.1936
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION D1 : PROVISIONAL SUMS
D1.1 | Labour Cost - additional to scheduled works
D1.1.1 | Fire Sprinkler Technician | hr | 100 | 1500 | 150000 | 1680 | 1881.6
D1.1.2 | Semi Skilled Labour | hr | 100 | 1400 | 140000 | 1568 | 1756.16
D1.1.3 | Labour | hr | 100 | 1300 | 130000 | 1456 | 1630.72
D1.2 | Travelling cost - additional to scheduled works
D1.2.1 | LDV | km | 100 | 650 | 65000 | 728 | 815.36
D1.2.2 | Truck 3 ton | km | 100 | 450 | 45000 | 504 | 564.48
D1.2.3 | Aerial Platform | hour | 100 | 850 | 85000 | 952 | 1066.24
D1.3 | Contingencies & Provisional Allowance | 1 | 1 | 317326.9 | 317326.9 | 355406.128 | 398054.8634
D1.3.1 | Unscheduled work and all other unforeseen and emergency circumstances. | Sum | 1 | 1700000 | 1700000 | 1904000 | 2132480
NOTES | Dayworks Costs / Mark-up allowance
(1) When used as a payment facilitator - Proven costs only.
(2) Outsource to sub-contractor - 7,5 % of invoice.
(3) Materials and supply items - 10 % on supplier invoice.
(4) Labour - 33 % on supplier invoice (or maximum D1.1).
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 2632326.9
SUMMARY OF CHARGES
| SECTION A1 : ANNUAL CHARGES |  |  |  | 200300
| SECTION A2 : MONTHLY CHARGES |  |  |  | 885600
| SECTION B1 : ROUTINE MAINTENANCE |  |  |  | 1033500
| SECTION C1 : GENERAL MAINTENANCE |  |  |  | 53869
| SECTION D1 : PROVISIONAL SUMS |  |  |  | 317326.9
| Nett Tender Sum for Year 1 |  |  |  | 2490595.9
| Nett Tender Sum for Year 2 (Escalated) | % | 12% |  | 2789467.408
| Nett Tender Sum for Year 3 (Escalated) | % | 12% |  | 3124203.497
| Total for 3 (Three) Year Term |  |  |  | 8404266.805
| Add VAT @ 15% |  |  |  | 1260640.0207
| Gross Tender Sum carried to Form of Offer |  |  |  | 9664906.8257

## BOQ 2023 (hidden)
East London Industrial Development Zone (SOC) Ltd
PROVISION OF MAINTENANCE & REPAIR & REPLACEMENT SERVICES
TO THE FIRE SPRINKLER INSTALLATIONS
SECTION A |  |  |  | Contract Amount
Item | Description | Unit | Qty | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of Surety | Year | 1 | 33376 | 33376
A1.1.2 | Provision of Insurances | Year | 1 | 123200 | 123200
A1.1.3 | Staff (PPE) Personal Protective Equipment | Year | 1 | 16800 | 16800
A1.1.4 | Staff Induction | Year | 1 | 9520 | 9520
A1.1.5 | OHS Compliance Method Statement | Year | 1 | 7280 | 7280
A1.1.6 | CEMP Compliance Method Statement | Year | 1 | 6160 | 6160
A1.1.7 | Provision of Electronic Maintenance Manual | Year | 1 | 28000 | 28000
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 224336
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Provide suitably qualified and certified personnel (approved qualifications recognised by ASIB), transport, tools and equipment, including requests for quotations for unscheduled works | Months | 12 | 53760 | 645120
A2.1.2 | Monthly overheads & administration charges | Months | 12 | 28896 | 346752
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 991872
SECTION B1 : ROUTINE MAINTENANCE
Routine maintenance (inclusive of all labour, equipment, transport and related costs)
SPRINKLER INSTALLATIONS - QUARTERLY INSPECTIONS
B1.1 | Quarterly Services (Inspections, checks, cleaning and testing) Sprinkler installations Systems.
B1.1.1 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE1 | service | 1 | 22176 | 22176
B1.1.2 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE4 | service | 1 | 22176 | 22176
B1.1.3 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Caravelle | service | 1 | 22176 | 22176
B1.1.4 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Fehrer) | service | 1 | 22176 | 22176
B1.1.5 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW4 | service | 1 | 22176 | 22176
B1.1.6 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW6 | service | 1 | 22176 | 22176
B1.1.7 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW8 | service | 1 | 22176 | 22176
B1.1.8 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW9 | service | 1 | 22176 | 22176
B.1.1.9 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE2 | service | 1 | 22176 | 22176
B.1.1.10 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE4 | service | 1 | 22176 | 22176
B.1.1.11 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE5 | service | 1 | 22176 | 22176
B.1.1.12 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE6 | service | 1 | 22176 | 22176
B.1.1.13 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW1 | service | 1 | 22176 | 22176
B.1.1.14 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 1 | 22176 | 22176
B.1.1.15 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at TA1 and TA2 (Tugger Route) | service | 1 | 22176 | 22176
B.1.1.16 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE1 (Sprinkler Pump Room) | service | 1 | 40208 | 40208
B.1.1.17 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CW1 | service | 1 | 22176 | 22176
B.1.1.18 | Carry out inspection and submit a compliance and condition report for the entire Sprinkler Main from the Pump Room to the various sprinkler valves | service | 1 | 61600 | 61600
B.1.1.20 | Carry out inspection and submit a compliance and condition report for the entire Sprinkler Pump Room and Sprinkler Water Tanks | service | 1 | 22176 | 22176
B.1.1.21 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 1 | 22176 | 22176
B.1.1.22 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CE 1 | service | 1 | 22176 | 22176
B.1.1.23 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at EW 1 | service | 1 | 22176 | 22176
B.1.1.24 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at FW 1 | service | 1 | 22176 | 22176
B.1.1.25 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GW 1 | service | 1 | 22176 | 22176
B.1.1.26 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GE 1 | service | 1 | 22176 | 22176
B.1.1.27 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HW 1 | service | 1 | 22176 | 22176
B.1.1.28 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HS 1 | service | 1 | 22176 | 22176
B.1.1.29 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HE 1 | service | 1 | 22176 | 22176
B.1.1.30 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Sundale Dairy | service | 1 | 22176 | 22176
B.1.1.31 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Froetek | service | 1 | 22176 | 22176
B.1.1.32 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Automould | service | 1 | 22176 | 22176
ASIB INSPECTIONS
| Sum allowance for six monthly ASIB installation inspection for the entire ASP sprinkler installations | Sum | 2 | 39200 | 78400
| Attendance on ASIB Inspector during six monthly inspection including submission of all documentation required for compilation of inspection report by ASIB | Sum | 2 | 39200 | 78400
| Sum allowance for yearly ASIB installation inspection for the entire ASP sprinkler installations | Sum | 1 | 156800 | 156800
| Attendance on ASIB Inspector during yearly inspection including submission of all documentation required for compilation of inspection report by ASIB | Sum | 1 | 50400 | 50400
B1.2 | Monthly Services (Inspections, checks, cleaning and testing) Sprinkler Installation Systems. SPRINKLER CONTROL VALVES
B1.2.1 | BUTTERFLY VALVES | service | 4 | 504 | 2016
B1.2.2 | SPRINKLER AND PIPING | service | 4 | 2352 | 9408
B1.2.3 | ALARM VALVES (WET VALVES) | service | 4 | 2016 | 8064
B1.3 | Weekly Services (Inspections, checks, cleaning and testing) Fire Sprinkler Systems. SPRINKLER PUMPS AND TANKS
B1.3.1 | BUTTERFLY VALVES | service | 4 | 504 | 2016
B1.3.2 | CONTROL PANELS | service | 4 | 1680 | 6720
B1.3.3 | FUEL SYSTEMS | service | 4 | 1064 | 4256
B1.3.4 | WATER COOLING SYSTEM | service | 4 | 728 | 2912
0
B1.3.5 | PUMP ROOM GENERAL | service | 4 | 616 | 2464
B1.3.6 | OPERATIONAL PUMP CHECKS | service | 4 | 1344 | 5376
B1.3.7 | WATER TANKS | service | 4 | 1344 | 5376
|  | sum |  | 0 | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 1157520
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE
C1 | General Maintenance (inclusive of 24 hour response with ELIDZ control and security office)
Supply, delivery to site and installation of SANS. 62 Medium Grade pipework primed and painted to specification including cutting, reaming and threading or butt welding
STRAIGHT PIPE LENGTHS
C1.1 | 15 NB | p/m | 1 | 616 | 616
C1.2 | 20 NB | p/m | 1 | 660.8 | 660.8
C1.3 | 25 NB | p/m | 1 | 772.8 | 772.8
C1.4 | 32 NB | p/m | 1 | 873.6 | 873.6
C1.5 | 40 NB | p/m | 1 | 980 | 980
C1.6 | 50 NB | p/m | 1 | 1108.8 | 1108.8
C1.7 | 65 NB | p/m | 1 | 1344 | 1344
C1.8 | 80 NB | p/m | 1 | 1512 | 1512
C1.9 | 100 NB | p/m | 1 | 2352 | 2352
C1.10.1 | 150 NB | p/m | 1 | 3472 | 3472
C1.10.2 | 200 NB | p/m | 1 | 5040 | 5040
C1.10.3 | 250 NB | p/m | 1 | 5712 | 5712
C1.11 | 300 NB | p/m | 1 | 7616 | 7616
C1.11.1 | 350 NB | p/m | 1 | 8848 | 8848
PIPE COUPLINGS AND FLANGES
Cut and grove pipe ends for "Klambon" or equal and approved coupling
C.1.12 | 50 NB | number | 1 | 1451.52 | 1451.52
number
C1.12.1 | 65 NB | number | 1 | 2296 | 2296
|  | number |  |  | 0
C1.12.2 | 80 NB | number | 1 | 3326.4 | 3326.4
number
C1.12.3 | 100 NB | number | 1 | 3662.4 | 3662.4
|  | number |  |  | 0
C1.13 | 150 NB | number | 1 | 4522.56 | 4522.56
number
C1.13.1 | 200 NB | number | 1 | 9968 | 9968
Supply and install "Klambon" or equal and approved pipe coupling
C.1.14 | 50 NB | number | 1 | 134.4 | 134.4
number
C.1.14.1 | 65 NB | number | 1 | 201.6 | 201.6
number
C.1.14.2 | 80 NB | number | 1 | 224 | 224
number
C.1.14.3 | 100 NB | number | 1 | 324.8 | 324.8
|  | number |  |  | 0
C.1.14.4 | 150 NB | number | 1 | 347.2 | 347.2
number
C.1.14.5 | 200 NB | number | 1 | 448 | 448
Replace Klambon coupling seals including breaking and remaking of joint, draining of system measured elsewhere
C.1.15 | Replace 50 NB coupling seal | number | 1 | 134.4 | 134.4
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 67949.28
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION D1 : PROVISIONAL SUMS
D1.1 | Labour Cost - additional to scheduled works
D1.1.1 | Fire Sprinkler Technician | hr | 100 | 1680 | 168000
D1.1.2 | Semi Skilled Labour | hr | 100 | 1568 | 156800
D1.1.3 | Labour | hr | 100 | 1456 | 145600
D1.2 | Travelling cost - additional to scheduled works
D1.2.1 | LDV | km | 100 | 728 | 72800
D1.2.2 | Truck 3 ton | km | 100 | 504 | 50400
D1.2.3 | Aerial Platform | hour | 100 | 952 | 95200
D1.3 | Contingencies & Provisional Allowance | 1 | 1 | 355406.128 | 355406.128
D1.3.1 | Unscheduled work and all other unforeseen and emergency circumstances. | Sum | 1 | 1904000 | 1904000
NOTES | Dayworks Costs / Mark-up allowance
(1) When used as a payment facilitator - Proven costs only.
(2) Outsource to sub-contractor - 7,5 % of invoice.
(3) Materials and supply items - 10 % on supplier invoice.
(4) Labour - 33 % on supplier invoice (or maximum D1.1).
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 2948206.128
SUMMARY OF CHARGES
| SECTION A1 : ANNUAL CHARGES |  |  |  | 224336
| SECTION A2 : MONTHLY CHARGES |  |  |  | 991872
| SECTION B1 : ROUTINE MAINTENANCE |  |  |  | 1157520
| SECTION C1 : GENERAL MAINTENANCE |  |  |  | 67949.28
| SECTION D1 : PROVISIONAL SUMS |  |  |  | 355406.128
| Nett Tender Sum for Year 1 |  |  |  | 2797083.408
| Nett Tender Sum for Year 2 (Escalated) | % | 12% |  | 3132733.417
| Nett Tender Sum for Year 3 (Escalated) | % | 12% |  | 3508661.427
| Total for 3 (Three) Year Term |  |  |  | 9438478.252
| Add VAT @ 15% |  |  |  | 1415771.7378
| Gross Tender Sum carried to Form of Offer |  |  |  | 10854249.9897

## BOQ 2024 (hidden)
East London Industrial Development Zone (SOC) Ltd
PROVISION OF MAINTENANCE & REPAIR & REPLACEMENT SERVICES
TO THE FIRE SPRINKLER INSTALLATIONS
SECTION A |  |  |  | Contract Amount
Item | Description | Unit | Qty | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of Surety | Year | 1 | 37381.12 | 37381.12
A1.1.2 | Provision of Insurances | Year | 1 | 137984 | 137984
A1.1.3 | Staff (PPE) Personal Protective Equipment | Year | 1 | 18816 | 18816
A1.1.4 | Staff Induction | Year | 1 | 10662.4 | 10662.4
A1.1.5 | OHS Compliance Method Statement | Year | 1 | 8153.6 | 8153.6
A1.1.6 | CEMP Compliance Method Statement | Year | 1 | 6899.2 | 6899.2
A1.1.7 | Provision of Electronic Maintenance Manual | Year | 1 | 31360 | 31360
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 251256.32
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Provide suitably qualified and certified personnel (approved qualifications recognised by ASIB), transport, tools and equipment, including requests for quotations for unscheduled works | Months | 12 | 60211.2 | 722534.4
A2.1.2 | Monthly overheads & administration charges | Months | 12 | 32363.52 | 388362.24
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 1110896.64
SECTION B1 : ROUTINE MAINTENANCE
Routine maintenance (inclusive of all labour, equipment, transport and related costs)
SPRINKLER INSTALLATIONS - QUARTERLY INSPECTIONS
B1.1 | Quarterly Services (Inspections, checks, cleaning and testing) Sprinkler installations Systems.
B1.1.1 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE1 | service | 1 | 24837.12 | 24837.12
B1.1.2 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE4 | service | 1 | 24837.12 | 24837.12
B1.1.3 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Caravelle | service | 1 | 24837.12 | 24837.12
B1.1.4 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Fehrer) | service | 1 | 24837.12 | 24837.12
B1.1.5 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW4 | service | 1 | 24837.12 | 24837.12
B1.1.6 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW6 | service | 1 | 24837.12 | 24837.12
B1.1.7 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW8 | service | 1 | 24837.12 | 24837.12
B1.1.8 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW9 | service | 1 | 24837.12 | 24837.12
B.1.1.9 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE2 | service | 1 | 24837.12 | 24837.12
B.1.1.10 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE4 | service | 1 | 24837.12 | 24837.12
B.1.1.11 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE5 | service | 1 | 24837.12 | 24837.12
B.1.1.12 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE6 | service | 1 | 24837.12 | 24837.12
B.1.1.13 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW1 | service | 1 | 24837.12 | 24837.12
B.1.1.14 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 1 | 24837.12 | 24837.12
B.1.1.15 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at TA1 and TA2 (Tugger Route) | service | 1 | 24837.12 | 24837.12
B.1.1.16 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE1 (Sprinkler Pump Room) | service | 1 | 45032.96 | 45032.96
B.1.1.17 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CW1 | service | 1 | 24837.12 | 24837.12
B.1.1.18 | Carry out inspection and submit a compliance and condition report for the entire Sprinkler Main from the Pump Room to the various sprinkler valves | service | 1 | 68992 | 68992
B.1.1.20 | Carry out inspection and submit a compliance and condition report for the entire Sprinkler Pump Room and Sprinkler Water Tanks | service | 1 | 24837.12 | 24837.12
B.1.1.21 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 1 | 24837.12 | 24837.12
B.1.1.22 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CE 1 | service | 1 | 24837.12 | 24837.12
B.1.1.23 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at EW 1 | service | 1 | 24837.12 | 24837.12
B.1.1.24 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at FW 1 | service | 1 | 24837.12 | 24837.12
B.1.1.25 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GW 1 | service | 1 | 24837.12 | 24837.12
B.1.1.26 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GE 1 | service | 1 | 24837.12 | 24837.12
B.1.1.27 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HW 1 | service | 1 | 24837.12 | 24837.12
B.1.1.28 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HS 1 | service | 1 | 24837.12 | 24837.12
B.1.1.29 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HE 1 | service | 1 | 24837.12 | 24837.12
B.1.1.30 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Sundale Dairy | service | 1 | 24837.12 | 24837.12
B.1.1.31 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Froetek | service | 1 | 24837.12 | 24837.12
B.1.1.32 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Automould | service | 1 | 24837.12 | 24837.12
ASIB INSPECTIONS
| Sum allowance for six monthly ASIB installation inspection for the entire ASP sprinkler installations | Sum | 2 | 43904 | 87808
| Attendance on ASIB Inspector during six monthly inspection including submission of all documentation required for compilation of inspection report by ASIB | Sum | 2 | 43904 | 87808
| Sum allowance for yearly ASIB installation inspection for the entire ASP sprinkler installations | Sum | 1 | 175616 | 175616
| Attendance on ASIB Inspector during yearly inspection including submission of all documentation required for compilation of inspection report by ASIB | Sum | 1 | 56448 | 56448
B1.2 | Monthly Services (Inspections, checks, cleaning and testing) Sprinkler Installation Systems. SPRINKLER CONTROL VALVES
B1.2.1 | BUTTERFLY VALVES | service | 4 | 564.48 | 2257.92
B1.2.2 | SPRINKLER AND PIPING | service | 4 | 2634.24 | 10536.96
B1.2.3 | ALARM VALVES (WET VALVES) | service | 4 | 2257.92 | 9031.68
B1.3 | Weekly Services (Inspections, checks, cleaning and testing) Fire Sprinkler Systems. SPRINKLER PUMPS AND TANKS
B1.3.1 | BUTTERFLY VALVES | service | 4 | 564.48 | 2257.92
B1.3.2 | CONTROL PANELS | service | 4 | 1881.6 | 7526.4
B1.3.3 | FUEL SYSTEMS | service | 4 | 1191.68 | 4766.72
B1.3.4 | WATER COOLING SYSTEM | service | 4 | 815.36 | 3261.44
0
B1.3.5 | PUMP ROOM GENERAL | service | 4 | 689.92 | 2759.68
B1.3.6 | OPERATIONAL PUMP CHECKS | service | 4 | 1505.28 | 6021.12
B1.3.7 | WATER TANKS | service | 4 | 1505.28 | 6021.12
|  | sum |  | 0 | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 1296422.4
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE
C1 | General Maintenance (inclusive of 24 hour response with ELIDZ control and security office)
Supply, delivery to site and installation of SANS. 62 Medium Grade pipework primed and painted to specification including cutting, reaming and threading or butt welding
STRAIGHT PIPE LENGTHS
C1.1 | 15 NB | p/m | 1 | 689.92 | 689.92
C1.2 | 20 NB | p/m | 1 | 740.096 | 740.096
C1.3 | 25 NB | p/m | 1 | 865.536 | 865.536
C1.4 | 32 NB | p/m | 1 | 978.432 | 978.432
C1.5 | 40 NB | p/m | 1 | 1097.6 | 1097.6
C1.6 | 50 NB | p/m | 1 | 1241.856 | 1241.856
C1.7 | 65 NB | p/m | 1 | 1505.28 | 1505.28
C1.8 | 80 NB | p/m | 1 | 1693.44 | 1693.44
C1.9 | 100 NB | p/m | 1 | 2634.24 | 2634.24
C1.10.1 | 150 NB | p/m | 1 | 3888.64 | 3888.64
C1.10.2 | 200 NB | p/m | 1 | 5644.8 | 5644.8
C1.10.3 | 250 NB | p/m | 1 | 6397.44 | 6397.44
C1.11 | 300 NB | p/m | 1 | 8529.92 | 8529.92
C1.11.1 | 350 NB | p/m | 1 | 9909.76 | 9909.76
PIPE COUPLINGS AND FLANGES
Cut and grove pipe ends for "Klambon" or equal and approved coupling
C.1.12 | 50 NB | number | 1 | 1625.7024 | 1625.7024
number
C1.12.1 | 65 NB | number | 1 | 2571.52 | 2571.52
|  | number |  |  | 0
C1.12.2 | 80 NB | number | 1 | 3725.568 | 3725.568
number
C1.12.3 | 100 NB | number | 1 | 4101.888 | 4101.888
|  | number |  |  | 0
C1.13 | 150 NB | number | 1 | 5065.2672 | 5065.2672
number
C1.13.1 | 200 NB | number | 1 | 11164.16 | 11164.16
Supply and install "Klambon" or equal and approved pipe coupling
C.1.14 | 50 NB | number | 1 | 150.528 | 150.528
number
C.1.14.1 | 65 NB | number | 1 | 225.792 | 225.792
number
C.1.14.2 | 80 NB | number | 1 | 250.88 | 250.88
number
C.1.14.3 | 100 NB | number | 1 | 363.776 | 363.776
|  | number |  |  | 0
C.1.14.4 | 150 NB | number | 1 | 388.864 | 388.864
number
C.1.14.5 | 200 NB | number | 1 | 501.76 | 501.76
Replace Klambon coupling seals including breaking and remaking of joint, draining of system measured elsewhere
C.1.15 | Replace 50 NB coupling seal | number | 1 | 150.528 | 150.528
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 76103.1936
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION D1 : PROVISIONAL SUMS
D1.1 | Labour Cost - additional to scheduled works
D1.1.1 | Fire Sprinkler Technician | hr | 100 | 1881.6 | 188160
D1.1.2 | Semi Skilled Labour | hr | 100 | 1756.16 | 175616
D1.1.3 | Labour | hr | 100 | 1630.72 | 163072
D1.2 | Travelling cost - additional to scheduled works
D1.2.1 | LDV | km | 100 | 815.36 | 81536
D1.2.2 | Truck 3 ton | km | 100 | 564.48 | 56448
D1.2.3 | Aerial Platform | hour | 100 | 1066.24 | 106624
D1.3 | Contingencies & Provisional Allowance | 1 | 1 | 398054.8634 | 398054.8634
D1.3.1 | Unscheduled work and all other unforeseen and emergency circumstances. | Sum | 1 | 2132480 | 2132480
NOTES | Dayworks Costs / Mark-up allowance
(1) When used as a payment facilitator - Proven costs only.
(2) Outsource to sub-contractor - 7,5 % of invoice.
(3) Materials and supply items - 10 % on supplier invoice.
(4) Labour - 33 % on supplier invoice (or maximum D1.1).
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 3301990.8634
SUMMARY OF CHARGES
| SECTION A1 : ANNUAL CHARGES |  |  |  | 251256.32
| SECTION A2 : MONTHLY CHARGES |  |  |  | 1110896.64
| SECTION B1 : ROUTINE MAINTENANCE |  |  |  | 1296422.4
| SECTION C1 : GENERAL MAINTENANCE |  |  |  | 76103.1936
| SECTION D1 : PROVISIONAL SUMS |  |  |  | 398054.8634
| Nett Tender Sum for Year 1 |  |  |  | 3132733.417
| Nett Tender Sum for Year 2 (Escalated) | % | 12% |  | 3508661.427
| Nett Tender Sum for Year 3 (Escalated) | % | 12% |  | 3929700.7982
| Total for 3 (Three) Year Term |  |  |  | 10571095.6422
| Add VAT @ 15% |  |  |  | 1585664.3463
| Gross Tender Sum carried to Form of Offer |  |  |  | 12156759.9885

## SPRINKLER SYSTEM BOQ
East London Industrial Development Zone (SOC) Ltd
PROVISION OF MAINTENANCE & REPAIR SERVICES
TO THE ELIDZ AUTOMATIC FIRE SPRINKLER SYSTEMS
SECTION A |  |  |  | Contract Amount
Item | Description | Unit | Qty | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of Surety | Year | 1
A1.1.2 | Provision of Insurances | Year | 1
A1.1.3 | Staff (PPE) Personal Protective Equipment | Year | 1
A1.1.4 | Staff Induction | Year | 1
A1.1.5 | Initial OHS compliance | Year | 1
A1.1.6 | Initial CEMP compliance | Year | 1
A1.1.7 | Provision of Electronic Maintenance Manual | Year | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Provide suitably qualified and certified personnel (approved qualifications recognised by ASIB), transport, tools and equipment, including requests for quotations for unscheduled works | Months | 12
A2.1.2 | Monthly overheads & administration charges | Months | 12
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SECTION B1 : ROUTINE MAINTENANCE
| Routine maintenance (inclusive of all labour, equipment, transport and related costs) | Weeks | 48
| SPRINKLER INSTALLATIONS - Weekly checks in accordance to ASIB regulations | Weeks | 48
| SPRINKLER PUMPS - Weekly checks in accordance to ASIB regulations | Weeks | 48
B1.1 | Quarterly Services of Automatic fire sprinkler systems (Valve Overhaul, Inspections, checks, cleaning and testing).
B1.1.1 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE1 | service | 3
B1.1.2 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE4 | service | 1
B1.1.3 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Caravelle | service | 1
B1.1.4 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AE6 (Feltex Fehrer) | service | 1
B1.1.5 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW4 | service | 1
B1.1.6 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW6 | service | 1
B1.1.7 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW8 | service | 1
B1.1.8 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW9 | service | 1
B.1.1.9 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE2 | service | 4
B.1.1.10 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE4 | service | 2
B.1.1.11 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE5 | service | 2
B.1.1.12 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BE6 | service | 3
B.1.1.13 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW1 | service | 1
B.1.1.14 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 2
B.1.1.15 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at TA1 and TA2 (Tugger Route) | service | 1
B.1.1.17 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CW1 | service | 3
B.1.1.21 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at BW2 and BW3 | service | 4
B.1.1.22 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at CE 1 | service | 2
B.1.1.23 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at EW 1 | service | 3
B.1.1.24 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at FW 1 | service | 8
B.1.1.25 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GW 1 | service | 3
B.1.1.26 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at GE 1 | service | 2
B.1.1.27 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HW 1 | service | 2
B.1.1.28 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HS 1 | service | 2
B.1.1.29 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at HE 1 | service | 2
B.1.1.30 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Sundale Dairy | service | 4
B.1.1.31 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Froetek | service | 3
B.1.1.32 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Automould | service | 2
B.1.1.33 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at C1 | service | 1
B.1.1.34 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW4 | service | 1
B.1.1.35 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at AW6 | service | 1
B.1.1.36 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Yekani | service | 1
B.1.1.37 | Carry out inspection and submit a compliance and condition report for the entire sprinkler installation at Incubator Facility | service | 1
ASIB INSPECTIONS
| Sum allowance for six monthly ASIB installation inspection for the entire ASP sprinkler installations | Sum | 2 | 45000 | 90000
| Attendance on ASIB Inspector during six monthly inspection including submission of all documentation required for compilation of inspection report by ASIB | Sum | 2 | 45000 | 90000
B1.2 | Monthly Services (Inspections, checks, cleaning and testing) Sprinkler Installation Systems. SPRINKLER CONTROL VALVES
B1.2.1 | BUTTERFLY VALVES | service | 4
B1.2.2 | SPRINKLER AND PIPING | service | 4
B1.2.3 | ALARM VALVES (WET VALVES) | service | 4
B1.3 | Weekly Services (Inspections, checks, cleaning and testing) Fire Sprinkler Systems. SPRINKLER PUMPS AND TANKS
B1.3.1 | BUTTERFLY VALVES | service | 4
B1.3.2 | CONTROL PANELS | service | 4
B1.3.3 | FUEL SYSTEMS | service | 1
B1.3.4 | WATER COOLING SYSTEM | service | 1
B1.3.5 | PUMP ROOM GENERAL | service | 1
B1.3.6 | OPERATIONAL PUMP CHECKS | service | 1
B1.3.7 | WATER TANKS | service | 1
B.1.4 | Annual Services for Sprinkler Pumps (Inspections, checks, cleaning and testing) Fire Sprinkler Systems. SPRINKLER PUMPS AND TANKS | service | 3
B.1.5 | Pump Annuals for 3 Pump Rooms inspected by ASIB Accredited Pump Company | service | 3
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE
C1 | General Maintenance (inclusive of 24 hour response with ELIDZ control and security office)
Supply, delivery to site and installation of SANS. 62 Medium Grade pipework primed and painted to specification including cutting, reaming and threading or butt welding
STRAIGHT PIPE LENGTHS
C1.1 | 15 NB | p/m | 1
C1.2 | 20 NB | p/m | 1
C1.3 | 25 NB | p/m | 1
C1.4 | 32 NB | p/m | 1
C1.5 | 40 NB | p/m | 1
C1.6 | 50 NB | p/m | 1
C1.7 | 65 NB | p/m | 1
C1.8 | 80 NB | p/m | 1
C1.9 | 100 NB | p/m | 1
C1.10.1 | 150 NB | p/m | 1
C1.10.2 | 200 NB | p/m | 1
C1.10.3 | 250 NB | p/m | 1
C1.11 | 300 NB | p/m | 1
C1.11.1 | 350 NB | p/m | 1
PIPE COUPLINGS AND FLANGES
Cut and grove pipe ends for "Klambon" or equal and approved coupling
C.1.12 | 50 NB | number | 1
number
C1.12.1 | 65 NB | number | 1
number
C1.12.2 | 80 NB | number | 1
number
C1.12.3 | 100 NB | number | 1
number
C1.13 | 150 NB | number | 1
number
C1.13.1 | 200 NB | number | 1
Supply and install "Klambon" or equal and approved pipe coupling
C.1.14 | 50 NB | number | 1
number
C.1.14.1 | 65 NB | number | 1
number
C.1.14.2 | 80 NB | number | 1
number
C.1.14.3 | 100 NB | number | 1
number
C.1.14.4 | 150 NB | number | 1
number
C.1.14.5 | 200 NB | number | 1
Replace Klambon coupling seals including breaking and remaking of joint, draining of system measured elsewhere
C.1.15 | Replace 50 NB coupling seal | number | 1
C.1.16 | Replace sprinkler heads | number | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION D1 : PROVISIONAL SUMS
D1.1 | Labour Cost - additional to scheduled works
D1.1.1 | Fire Sprinkler Technician | hr | 100
D1.1.2 | Semi Skilled Labour | hr | 100
D1.1.3 | Labour | hr | 100
D1.2 | Travelling cost - additional to scheduled works
D1.2.1 | LDV | km | 100
D1.2.2 | Truck 3 ton | km | 100
D1.2.3 | Aerial Platform | hour | 100
D1.3 | Contingencies & Provisional Allowance
E1 | Unscheduled work and all other unforeseen and emergency circumstances. | Sum | 1 | 600000 | 600000
| Profit and Attendance | %
D1.4 | Provisional Sum for Employer's Agent(s) specialist input whenever/where required (eg. Registered Consultant). | Sum | 1 | 450000 | 450000
D1.4.1 | Profit and Attendance | %
NOTES | Dayworks Costs / Mark-up allowance
(1) When used as a payment facilitator - Proven costs only.
(2) Outsource to sub-contractor - 7,5 % of invoice.
(3) Materials and supply items - 10 % on supplier invoice.
(4) Labour - 33 % on supplier invoice (or maximum D1.1).
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SUMMARY OF CHARGES
SECTION A1 : ANNUAL CHARGES
SECTION A2 : MONTHLY CHARGES
SECTION B1 : ROUTINE MAINTENANCE
SECTION C1 : GENERAL MAINTENANCE
SECTION D1 : PROVISIONAL SUMS
SECTION E1 : UNSCHEDULED SUMS
Nett Tender Sum for Year 1
| Nett Tender Sum for Year 2 (Escalated) | %
| Nett Tender Sum for Year 3 (Escalated) | %
Total for 3 (Three) Year Term
Add VAT @ 15%
Gross Tender Sum carried to Form of Offer