## UnPriced BOQ
East London Industrial Development Zone (SOC) Ltd
PROVISION OF MAINTENANCE SERVICES TO THE AIR CONDITIONING
AND VENTILATION INSTALLATIONS
SECTION A |  |  |  | Contract Amount
Item | Description | Unit | Qty | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of Surety | Year | 1
A1.1.2 | Provision of Insurances | Year | 1
A1.1.3 | Staff (PPE) Personal Protective Equipment | Year | 1
A1.1.4 | Staff Induction | Year | 1
A1.1.5 | OHS Compliance Method Statement | Year | 1
A1.1.6 | CEMP Compliance Method Statement | Year | 1
A1.1.7 | Provision of Electronic Maintenance Manual | Year | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | R
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Provide suitably qualified and certified personnel (approved qualifications recognised in South Africa and Daiken certified), transport, tools and equipment, including requests for quotations for unscheduled works | Months | 12
A2.1.2 | Monthly overheads & administration charges | Months | 12
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | R
SECTION B1 : ROUTINE MAINTENANCE
Routine maintenance (inclusive of all labour, equipment, transport and related costs)
SPRINKLER INSTALLATIONS - QUARTERLY INSPECTIONS
B1.1 | Quarterly Services (Inspections, checks, cleaning and testing) Sprinkler installations Systems.
B1.1.1 | Mid wall split unit c/w condenser, drain pumps, filters and electrical components | service | 108
B1.1.2 | VRV mid wall split indoor unit c/w drain pumps, filters and electrical components | service | 270
B1.1.3 | Semi reccessed ceiling cassette split unit c/w drain pumps, filters and electrical components | service | 90
B1.1.4 | VRV semi reccessed ceiling cassette unit c/w drain pumps, filters and electrical components | service | 636
B1.1.5 | Stand alone ceiling suspended unit c/w drain pumps, filters and electrical components | service | 24
B1.1.6 | VRV Hideaway ducted indoor unit c/w drain pumps, filters and electrical components | service | 12
B1.1.7 | Defy Console units c/w compressors, drains, filters and electrical components | service | 30
B1.1.8 | VRV II and III outdoor units (HQ-10, STP-16, AE12-4) | service | 90
B1.2 | Annual Services (Inspections, checks, cleaning and testing) Air Conditioning Systems.
B1.2.1 | Mid wall split unit c/w condenser, drain pumps, filters and electrical components | service | 36
B1.2.2 | VRV mid wall split indoor unit c/w drain pumps, filters and electrical components | service | 90
B1.2.3 | Semi reccessed ceiling cassette split unit c/w drain pumps, filters and electrical components | service | 30
B1.2.4 | VRV semi reccessed ceiling cassette unit c/w drain pumps, filters and electrical components | service | 212
B1.2.5 | Stand alone ceiling suspended unit c/w drain pumps, filters and electrical components | service | 8
B1.2.6 | VRV Hideaway ducted indoor unit c/w drain pumps, filters and electrical components | service | 4
B1.2.7 | Defy Console units c/w compressors, drains, filters and electrical components | service | 10
B1.2.8 | VRV II and III outdoor units (HQ-10, STP-16, AE12-4) | service | 30
B 1.3 | Installation Inspection (Air Conditioning)
B1.3.1 | Inspect all air conditioning equipment, compile and verify asset register, capture record drawings and submit a detailed report, adjusting to keep up to date if equipment replaced | sum | 2
VENTILATION
B1.4 | Quarterly Services (Inspections, checks, cleaning and testing) Ventilation Systems.
B1.4.1 | Wall mounted extract air fan | service | 120
B1.4.2 | Ceiling mounted extract air fan | service | 72
B1.4.3 | Inline duct extract air fan | service | 16
B1.4.4 | Axial flow exhaust fan | service | 40
B1.4.5 | Roof mount mixed flow extraction fan | service | 240
B1.4.6 | 500x500x50mm grease filter units (AE12 canteen) | service | 80
B1.4.7 | 100mm deep pleated filters (Sub-stations) | service | 1120
B1.4.8 | Kitchen extraction canopy 5200x2800 c/w luminaires and fire dampers (AE12) | service | 4
B1.5 | Replacement of Filter materials as required - Ventilation Systems.
B1.5.1 | 500x500x50mm grease filter units (AE12 Canteen) | replace | 20
B1.5.2 | 100mm deep pleated filters (Sub-stations) | replace | 280
B1.6 | Installation Inspection (Ventilation)
B1.6.1 | Inspect all ventilation equipment, compile and verify asset register, capture record drawings and submit a detailed report, adjusting to keep up to date if equipment replaced | sum | 2
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | R
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE
C1 | General Maintenance (inclusive of 24 hour response with ELIDZ control and security office)
C1.1 | Replacement DAIKEN inverter midwall split 2.5 kW (approximately 8530 btu) unit complete with - condensate pump, bluechem treatment, electrical supply and outdoor condensor, copper piping and approved gas. This would include the safe removal of any redundant equipment being replaced. | unit | 1
C1.2 | Replacement DAIKEN inverter midwall split 3.5 kW (approximately 10918 btu) unit complete with - condensate pump, bluechem treatment, electrical supply and outdoor condensor, copper piping and approved gas. This would include the safe removal of any redundant equipment being replaced. | unit | 1
C1.3 | Replacement DAIKEN inverter midwall split 5.45 kW (approximately 17060 btu) unit complete with - condensate pump, bluechem treatment, electrical supply and outdoor condensor, copper piping and approved gas. This would include the safe removal of any redundant equipment being replaced. | unit | 1
C1.4 | Replacement DAIKEN inverter midwall split 6.21 kW (approximately 21189 btu) unit complete with - condensate pump, bluechem treatment, electrical supply and outdoor condensor, copper piping and approved gas. This would include the safe removal of any redundant equipment being replaced. | unit | 1
C1.5 | Replacement items for DAIKEN midwall split units
C1.5.1 | Condensate pump (Eckerle E1200K) | item | 10
C1.5.2 | Refrigerant R410A (approved gas) | kg | 100
C1.5.3 | Copper Piping (max 20 m) | m | 20
C1.6 | Replacement DAIKEN inverter cassette split 3.4 kW (approximately 11600 btu) unit complete with - condensate pump, bluechem treatment, electrical supply and outdoor condensor, copper piping and approved gas. This would include the safe removal of any redundant equipment being replaced. | unit | 1
C1.7 | Replacement DAIKEN inverter cassette split 5 kW (approximately 17060 btu) unit complete with - condensate pump, bluechem treatment, electrical supply and outdoor condensor, copper piping and approved gas. This would include the safe removal of any redundant equipment being replaced. | unit | 1
C1.8 | Replacement DAIKEN inverter cassette split 5.7 kW (approximately 19448 btu) unit complete with - condensate pump, bluechem treatment, electrical supply and outdoor condensor, copper piping and approved gas. This would include the safe removal of any redundant equipment being replaced. | unit | 1
C1.9 | Replacement items for DAIKEN inverter cassette split units
C1.9.1 | Condensate pump (Manufacturer specific) | item | 10
C1.9.2 | Refrigerant R410A (approved gas) - regas. | kg | 250
C1.9.3 | Copper Piping (max 20 m) | m | 20
C1.10 | VRV II - different sizes common items
C1.10.1 | Replacement Main pc board | item | 5
C1.10.2 | Replacement Inverter pc board | item | 5
C1.10.3 | Replacement Fan Drive pc board | item | 5
C1.10.4 | Replacement Noise Filter pc board | item | 5
C1.10.5 | Replacement Wiring Harness (Complete) | item | 5
C1.11 | VRV III - different sizes common items
C1.11.1 | Replacement Main pc board | item | 5
C1.11.2 | Replacement Inverter pc board | item | 5
C1.11.3 | Replacement Fan Drive pc board | item | 5
C1.11.4 | Replacement Noise Filter pc board | item | 5
C1.11.5 | Replacement Wiring Harness (Complete) | item | 5
C1.12 | Common Items
C1.12.1 | Gas Recovery | service | 10
C1.12.2 | Gas Re-charge | service | 10
C1.12.3 | Replacement Refridgerant (R410A) gas | kg | 100
C1.12.4 | Replacement Nitrogen Gas | kg | 100
C1.12.5 | Replacement Copper piping | m | 50
C1.13 | Replacement VRV units (including Bluechem treatment)
C1.13.1 | Complete Unit (RXYQ8) installed | item | 1
C1.13.2 | Complete Unit (RXYQ10) installed | item | 1
C1.13.3 | Complete Unit (RXYQ12) installed | item | 1
C1.13.4 | Complete Unit (RXYQ14) installed | item | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION D1 : PROVISIONAL SUMS
D1.1 | Labour Cost - additional to scheduled works
D1.1.1 | Air-Conditioner Technician | hr | 100
D1.1.2 | Semi Skilled Labour | hr | 100
D1.1.3 | Labour | hr | 100
D1.2 | Travelling cost - additional to scheduled works
D1.2.1 | LDV | km | 250
D1.2.2 | Truck 3 ton | km | 100
D1.2.3 | Aerial Platform | hour | 25
D1.3 | Contingencies & Provisional Allowance
D1.3.1 | Carry out repairs or replacements to Air-conditioning and Ventilation, AUTHORISED by the Clients Representative, of compressors, coils, refrigeration and drainage pipework, circuits, motors, fans, filters, louvers, attenuators, fire dampers and grilles, heaters, electrical, thermostats, controls, sound, vibration isolators, duct work, alarms, humidifiers, casing and frames, or any other faults identified during inspections. | Sum | 1 | 500000 | 500000
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | R
SUMMARY OF CHARGES
| SECTION A1 : ANNUAL CHARGES |  |  |  | R
| SECTION A2 : MONTHLY CHARGES |  |  |  | R
| SECTION B1 : ROUTINE MAINTENANCE |  |  |  | R
| SECTION C1 : GENERAL MAINTENANCE |  |  |  | R
| SECTION D1 : PROVISIONAL SUMS |  |  |  | R
| Nett Tender Sum for Year 1 |  |  |  | R
| Nett Tender Sum for Year 2 (Escalated) | % |  |  | R
| Nett Tender Sum for Year 3 (Escalated) | % |  |  | R
| Total for 3 (Three) Year Term |  |  |  | R
| Add VAT @ 15% |  |  |  | R
| Gross Tender Sum carried to Form of Offer |  |  |  | R