## Metering BoQ
METERING MONITORING AND MAINTENANCE - BILL OF QUANTITIES
Item | Description | Unit | Qty | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of surety | Year | 2 |  | 0
A1.1.2 | Provision of insurances | Year | 2 |  | 0
A1.1.3 | Staff protective personal equipment | Year | 2 |  | 0
A1.1.4 | Staff induction | sum | 2 |  | 0
A1.1.5 | OHS compliance method statement | sum | 2 |  | 0
A1.1.6 | CEMP compliance method statement | sum | 2 |  | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Provide transport,tools & equipment for the suitably qualified personnel to be on site for 14 days per month | Months | 24 |  | 0
A2.1.2 | Monthly overheads & administration charges | Months | 24 |  | 0
A2.1.3 | Monthly OHS Requirements (Includes Labour and Documentation Upkeep) | Months | 24 |  | 0
A2.1.4 | Provision of Monthly meter reading and billing, including analyzing consumption patterns to indentify trends, anomalies, or areas of improvement and provide results in consolidated report for 35 tenants.Verify meter and accuracy and compliance with regulatory standards for electricity metering and billing data and provide recommendations for energy efficiency improvements based on metering data analysis.Suggest measures to optimize electricity usage and reduce costs for industrial tenants. | Months | 24 |  | 0
A2.1.5 | Generate accurate bills based on meter readings and applicable tariffs for 35 tenants. (Includes Handling invoicing processes for electricity consumption, including distribution to industrial tenants or facilities within the development zone) | Months | 24 |  | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
SECTION B1 : ROUTINE MAINTENANCE
B1 | Routine maintenance (inclusive of all labour, equipment, transport and related costs)
B1.1 | Complete Weekly inspections on meters & submit consolidated monthly report in electronic format, recording works carried out, findings requiring attention and costs to resolve. | No. | 156 |  | 0
B1.2 | Conduct Bi-weekly maintenance checks on AMR and submit consolidated monthly report in electronic format to ensure proper functioning, accuracy and compliance with regulatory standards. Perform firmware updates, diagnostics, and troubleshooting to address any technical issues, cyber treats, data breaches or malfunctions promptly.Schedule periodic calibration tests for AMR meters to maintain accuracy and compliance with regulatory standards.Monitor the performance of AMR systems to identify areas for optimization and efficiency improvements. | No. | 78 |  | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total | 0
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE (Rates Only)
C1 | General maintenance - Provide inclusive rate with supply, labour, transport, testing and commissioning rate for each item (The totalization for this section to be excluded from the final total)
C1.1 | Complete supply, Installation and commissioning Elster A1700 3phase Smart Metering (Inclusive of wiring, labels and all ancillaries to ensure functionality and compliance) | Qty | 1 |  | 0
C1.2 | Calibration of meter unit with Certificate | Qty | 1 |  | 0
C1.3 | Replace and re-commission Faulty Elster A1700 meter | Qty | 1 |  | 0
C1.4 | Testing of meter unit (Not limited to diagnostic test, load test and accuracy tests. Etc.) | Qty | 1 |  | 0
C1.5 | Resetting of Meter Unit | Qty | 1 |  | 0
C1.6 | Repairing of Meter wiring | Qty | 1 |  | 0
C1.7 | Meter seal replacement | Qty | 1 |  | 0
C1.8 | Replacing faulty sensors and re-commission | m | 1 |  | 0
C1.9 | Replacing faulty transducers and re-commission | Qty | 1 |  | 0
C1.10 | Replacing faulty Meter housing re-commission | Qty | 1 |  | 0
C1.11 | Perform Firmware update on meter unit | Qty | 1 |  | 0
C1.12 | Replacing damaged meter display | Qty | 1 |  | 0
C1.13 | Repairing communication issues on meter (Includes troubleshooting for communication protocols, network connections and/or data transmission) | Qty | 1 |  | 0
C1.14 | Assess and resolve grounding issues on meter that can affect accuracy and safety | Qty | 1 |  | 0
SECTION A4 : PROVISIONAL CHARGES
Item | Description | Unit | Qty | Rate | Amount
SECTION D1 : PROVISIONAL SUMS
D1.1 | Labour for Non-scheduled works ( (Inclusive of all labour and related costs. Excluding Transport and Materials.) |  |  |  | 0
D1.1.1 | Electrical Technician | hr | 100 |  | 0
D1.1.2 | Semi Skilled Labour | hr | 150 |  | 0
D1.1.3 | Labour | hr | 200 |  | 0
0
D1.2 | Travelling for Non-scheduled works |  |  |  | 0
D1.2.1 | LDV | km | 5000 |  | 0
0
D1.3 | Provisional Allowance for Non-scheduled Works Material
D1.3.1 | Contingency allowance for non-schedule Work Materials | Sum |  | 200000
D1.3.2 | Profit and Attendance | % |  | 0
D1.4 | Provisional Allowance for General Maintenance as per C1 & Yearly Maintenance of AMR system
D1.4.1 | Provisional sum for General maintenance | Sum |  | 350000
D1.4.2 | Profit and Attendance | % |  | 0
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | 550000
SUMMARY
| SECTION A1 : ANNUAL CHARGES |  |  |  | 0
| SECTION A2 : MONTHLY CHARGES |  |  |  | 0
| SECTION B1 : ROUTINE CHARGES |  |  |  | 0
SECTION C1 : GENERAL MAINTENANCE
| SECTION D1 : PROVISIONAL SUMS |  |  |  | 0
| Nett Tender Sum for Year 1 |  |  |  | 0
| Nett Tender Sum for Year 2 (Escalated) | % | 10% |  | 0
| Total for 3 (Three) Year Term |  |  |  | 0
| Add VAT @ 15% |  |  |  | 0
| Gross Tender Sum carried to Form of Offer |  |  |  | 0