## Pricing Schedule
East London Industrial Development Zone (SOC) Ltd
REPLACEMENT OF AIRCONDITIONING UNITS (PHASE III)
A1.1 | Annual Preliminary & General
A1.1.1 | Provision of Surety N/A (To deduct 10% retention on each payment certificate) | N/A | N/A | N/A | N/A
A1.1.2 | Provision of Insurances | Months | 9
A1.1.3 | Provide staff (PPE) Personal Protective Equipment | Months | 9
A1.1.4 | Staff Induction | Months | 9
A1.1.5 | OHS Compliance Method Statement | Months | 9
A1.1.6 | CEMP Compliance Method Statement | Months | 9
A1.1.7 | Provision of Electronic Maintenance Manual | Months | 9
A1.1.8 | Provide an asset register with GIS coordinates for individual units | No. | 1
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Provide suitably qualified and certified personnel (approved qualifications recognised in South Africa and Daiken certified), transport, tools and equipment, including requests for quotations for unscheduled works | Months | 9
A2.1.2 | Monthly overheads & administration charges | Months | 9
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SECTION B1 : REPLACEMENT OF VRF2 OUTDOOR & INDOOR UNITS
Replacement of VRF2 Outdoor and indoor units (inclusive of all labour, equipment, transport and related costs)
AIR-CONDITIONING
B1.1 | Take out existing VRF 2 outdoor and indoor units
B1.1.1 | VRV II outdoor units | No. | 40
B1.1.2 | Indoor units of various makes and sizes | No. | 322
B 1.2 | Installation (Air Conditioning)
Install VRV Q R410a Outdoor units and compatible indoor units (inclusive of all labour, equipment, transport and related costs)
B1.3 | AE4
B1.3.1 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 16
B1.3.2 | Supplly and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 16
B1.3.3 | Supply and fit new condensor (Model REYQ14U) | No. | 1
AE6
B1.3.4 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 15
B1.3.5 | Supplly and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 15
B1.3.6 | Supply and fit new condensor (Model REYQ14U) | No. | 1
AE8
B1.3.7 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 5
B1.3.8 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 5
B1.3.9 | Supply and fit new condensor (Model REYQ14U) | No. | 2
Automould
B1.3.10 | Supply and fit new condensor (Model REYQ14U) | No. | 5
B1.3.11 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 6
B1.3.12 | Supplly and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 9
B1.3.13 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 1
AW4
B1.3.14 | Supply and fit new condensor (Model REYQ14U) | No. | 2
B1.3.15 | Supplly and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 7
B1.3.16 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 7
AW6
B1.3.17 | Supply and fit new condensor (Model REYQ14U) | No. | 2
B1.3.18 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 6
BE2
B1.3.19 | Supply and fit new condensor (Model REYQ14U) - Check new condensor | No. | 2
B1.3.20 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 7
B1.3.21 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 3
BE4
B1.3.22 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 2
BE5 & 6
B1.3.23 | Supply and fit new condensor (Model REYQ14U) | No. | 2
B1.3.24 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 13
B1.3.25 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 5
B1.3.26 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 2
BW1 & 2
B1.3.27 | Supply and fit new condensor (Model REYQ14U) | No. | 12
B1.3.28 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 18
B1.3.29 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 2
B1.3.30 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 4
BW3
B1.3.31 | Provisional sum for the replacement of a chiller | Sum | 1 | 150000 | 150000
B1.3.32 | Supply and fit new condensor (Model REYQ14U) | No. | 2
B1.3.33 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 19
B1.3.34 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 6
CCA Building
B1.3.35 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 11
B1.3.36 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 6
B1.3.37 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 5
CE1
B1.3.38 | Supply and fit new condensor (Model REYQ14U) | No. | 3
B1.3.39 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 5
B1.3.40 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 12
B1.3.41 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 3
CW1
B1.3.42 | Supply and fit new condensor (Model REYQ14U) | No. | 3
B1.3.43 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 4
B1.3.44 | Supplly and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 12
B1.3.45 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 1
KING FISH ENTERPRISES
B1.3.46 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 4
B1.3.47 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 2
MSC BUILDING
B1.3.48 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 2
B1.3.49 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 1
B1.3.50 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 1
OCEAN WISE
B1.3.51 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 4
B1.3.52 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 3
SUNDALE
B1.3.53 | Supply and fit new condensor (Model REYQ14U) | No. | 2
B1.3.54 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 12
B1.3.55 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 1
B1.3.56 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 12
TECHNIPLAS
B1.3.57 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 9
B1.3.58 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 2
B1.3.59 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 3
VDS
B1.3.60 | Supply and fit new condensor (Model REYQ14U) | No. | 1
B1.3.61 | Replace ceiling cassette unit 24000 btu inverter conditioner | No. | 4
B1.3.62 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 1
ZONE 1B GATEHOUSE
B1.3.63 | Supply and fit new midwall split units (Model FTXN50KV1B) including Bluchem treatment | No. | 4
B1.3.64 | Supply and fit new split unit condensor (Model RXN50KEV1B) including Bluchem treatment | No. | 5
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
Item | Description | Unit | Qty | Supply & Install Rate | Amount
SECTION C1 : PROVISIONAL SUMS
C1.1 | Contingencies & Provisional Allowance
C1.1.1 | Carry out repairs or replacements to Air-conditioning and Ventilation, AUTHORISED by the Clients Representative, of compressors, coils, refrigeration and drainage pipework, circuits, motors, fans, filters, louvers, attenuators, fire dampers and grilles, heaters, electrical, thermostats, controls, sound, vibration isolators, duct work, BS Boxes, copper pipes, alarms, humidifiers, casing and frames, or any other faults identified during inspections. | Sum | 1 | 1500000 | 1500000
C1.1.2 | Carry out repairs or replacements to Air-conditioning and Ventilation, AUTHORISED by the Clients Representative or any other faults identified during inspections at STP | Sum | 1 | 2500000 | 2500000
C1.1.3 | Carry out repairs or replacements to Air-conditioning and Ventilation, AUTHORISED by the Clients Representative or any other faults identified during inspections at Data Centre | Sum | 1 | 600000 | 600000
TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  | Sub Total
SUMMARY OF CHARGES
| SECTION A1 : ANNUAL CHARGES |  |  |  | R
| SECTION A2 : MONTHLY CHARGES |  |  |  | R
| SECTION B1 : ROUTINE MAINTENANCE |  |  |  | R
| SECTION C1 : PROVISIONAL SUMS |  |  |  | R
Nett Tender Sum
| Total for 9 months contract |  |  |  | R
| Add VAT @ 15% |  |  |  | R
| Gross Tender Sum carried to Form of Offer |  |  |  | R