## Electronic BoQ
ROADWAY LIGHTING - BILL OF QUANTITIES: ES/25/RWL/01
Item | Description | Unit | Qty | Qty term 1 | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General |  | 1
A1.1.1 | Provision of surety | Year | 1 |  | 0 | 0
A1.1.2 | Provision of insurances | Year | 1 |  | 0 | 0
A1.1.3 | Staff protective personal equipment | Year | 1 |  | 0 | 0
A1.1.4 | Staff induction | Year | 1 |  | 0 | 0
A1.1.5 | OHS compliance method statement | Year | 1 |  | 0 | 0
A1.1.6 | CEMP compliance method statement | Year | 1 |  | 0 | 0
A1.1.7 | Provision of Electronic Maintenance Manual | Year | 1 |  | 0 | 0
A1.1.8 | Provision of Updated drawings in AutoCAD format | Year | 1 |  | 0 | 0
SECTION A1 - TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total | 0
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Monthly overheads & administration charges | Months | 12 |  | 0 | 0
A2.1.2 | Other monthly contractual charges | Months | 12 |  | 0 | 0
SECTION A2 - TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total | 0
SECTION B1 : ROUTINE MAINTENANCE
B1 | Routine maintenance (inclusive of all labour, equipment, transport and related costs)
B1.1 | Complete monthly inspection & submit report in electronic format, recording works carried out, findings requiring attention and costs to resolve | No. | 12 |  | 0 | 0
B1.2 | Obtain relevant substation work permits for the month and Complete street lighting bypasses, Reset all control panels and all pole circuit breakers, Maintain all wiring connections, Maintain all roadway lighting pole alignment & compaction, Maintain all luminaire angle and/or alignment and Clean complete luminaire externally, including gear and reflector compartments | No. | 12 |  | 0 | 0
SECTION B - TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total | 0
Item | Description | Unit | Qty | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE
C1 | General maintenance - provide supply rate for each item (The totalization for this section to be excluded from the final total)
C1.1 | 150W Metal halide HQI - T 150NDL lamp | Qty | 1 |  | 0
C1.2 | 250W Metal halide HQI - T 250NDL lamp | Qty | 1 |  | 0
C1.3 | 250W HPS NAV-T(son-t) lamp | Qty | 1 |  | 0
C1.4 | 150W HPS NAV-T(son-t) lamp | Qty | 1 |  | 0
C1.11 | 20 Ampere Contactor (Siemens or equivalent) | Qty | 1 |  | 0
C1.12 | 5 Ampere MCB 5kA (CBI or equivalent) | Qty | 1 |  | 0
C1.13 | 2.5mm² illumination cable (price/m) | Qty | 1 |  | 0
C1.14 | 16 mm² 4c PVC/SWA/PVC 600/1000V cable | m | 1 |  | 0
C1.15 | Scotchcast cable joint kit & ferrules to suite cable range | Qty | 1 |  | 0
C1.16 | Photo sensitive switch (National) | Qty | 1 |  | 0
C1.17 | Capacitor for HPS/ MH lamps | Qty | 1 |  | 0
C1.18 | Ignitor for MH lamps (Tridonic) | Qty | 1 |  | 0
C1.19 | Analogue Timer with 7 day spring reserve | Qty | 1 |  | 0
C1.20 | Digital Timer with 7 day spring reserve | Qty | 1 |  | 0
C1.21 | 9m (MH) GRP pole (white) | Qty | 1 |  | 0
| LEDlume-midi - 42LED/108W/11612lm | Qty | 1 |  | 0
C1.25 | Replace ballast | Qty | 1 |  | 0
C1.27 | Excavate, backfill and reinstate 0.45mx0.8m cable trench | Qty | 1 |  | 0
C1.28 | Remove & replace luminaire (Free issue material from ELIDZ stores) | Qty | 1 |  | 0
C1.29 | Excavate, backfill and make good hole for GRP mast (1.5m3/hole) | Qty | 1 |  | 0
C1.30 | Replace GRP mast (Free issue material from ELIDZ stores) | Qty | 1 |  | 0
C1.31 | Locate fault in underground electrical cable | Qty | 1 |  | 0
SECTION A4 : PROVISIONAL CHARGES
Item | Description | Unit | Qty | Qty | Supply & Install Rate | Amount
SECTION D1 : PROVISIONAL SUMS The total amount for sectin D1 must be inclusive of provided provisional sum & profit and attendace bidded % amount
D1.2 | Labour additional to scheduled works - For repairs and call outs
D1.2.1 | Electrical Technician | hr | 480 |  | 0 | 0
D1.2.2 | Semi Skilled Labour | hr | 480 |  | 0 | 0
D1.2.3 | Labour | hr | 200 |  | 0 | 0
0
D1.3 | Travelling additional to scheduled works |  |  |  | 0
D1.3.1 | LDV | km | 4000 |  | 0 | 0
D1.3.2 | Truck - 8 Ton with a crane | Days | 100 |  | 0 | 0
D1.3.3 | Hydraulic Platform - Nifty/Cherry pick | Days | 100 |  | 0 | 0
D1.4 | Provisional Allowance for replacement equipment
D1.4.1 | Provisional sum for Replacement of Street and Canopy Lighting with LED Luminaires | Sum | 1 |  | 600000
D1.4.2 | Profit and attendance - bid % of the sum on C1.4.1 | % | 0% |  | 0
D1.4.3 | Provisional sum for re-instatement (concrete / paving / pre mix) | Sum | 1 |  | 50000
D1.4.4 | Profit and attendance - bid % of the sum on C1.4.3 | % | 0% |  | 0
D1.4.5 | Provisional sum for Estate Building Lighting Repairs | sum | 1 |  | 150000
D1.4.6 | Profit and attendance - bid % of the sum on C1.4.5 | % | 0% |  | 0
D1.4.7 | Provisional sum for Replacement of Estate Building Lighting with LED Luminaires | Sum | 1 |  | 250000
D1.4.8 | Profit and attendance - bid % of the sum on C1.4.7 | % | 0% |  | 0
D1.4.9 | Contingency allowance for non-schedule Work | Sum | 1 |  | 150000
D1.4.10 | Profit and attendance - bid % of the sum on C1.4.9 | % | 0% |  | 0
SECTION D - TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY The total amount for sectin D1 must be inclusive of provided provisional sum & profit and attendace bidded % amount |  |  |  | Sub Total |  | 1200000
SUMMARY
| SECTION A1 : ANNUAL CHARGES |  |  |  |  | 0
| SECTION A2 : MONTHLY CHARGES |  |  |  |  | 0
| SECTION B1 : ROUTINE CHARGES |  |  |  |  | 0
SECTION C1 : GENERAL MAINTENANCE
| SECTION D1 : PROVISIONAL SUMS The total amount for sectin D1 must be inclusive of provided provisional sum & profit and attendace bidded % amount |  |  |  |  | 1200000
| Nett Tender Sum for Year 1 |  |  |  |  | 1200000
| Nett Tender Sum for Year 2 (Escalated) | % |  |  |  | 1320000
| Nett Tender Sum for Year 3 (Escalated) | % |  |  |  | 1452000
| Total for 3 (Three) Year Term |  |  |  |  | 3972000
| Add VAT @ 15% |  |  |  |  | 595800
| Gross Tender Sum carried to Form of Offer |  |  |  |  | 4567800

## Manual BoQ
ROADWAY LIGHTING - BILL OF QUANTITIES: ES/25/RWL/01
Item | Description | Unit | Qty | Qty term 1 | Supply Rate | Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General |  | 1
A1.1.1 | Provision of surety | Year | 1 |  | R | R
A1.1.2 | Provision of insurances | Year | 1 |  | R | R
A1.1.3 | Staff protective personal equipment | Year | 1 |  | R | R
A1.1.4 | Staff induction | Year | 1 |  | R | R
A1.1.5 | OHS compliance method statement | Year | 1 |  | R | R
A1.1.6 | CEMP compliance method statement | Year | 1 |  | R | R
A1.1.7 | Provision of Electronic Maintenance Manual | Year | 1 |  | R | R
A1.1.8 | Provision of Updated drawings in AutoCAD format | Year | 1 |  | R | R
SECTION A1 - TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total | R
SECTION A2 : MONTHLY CHARGES
A2.1 | Monthly Preliminary & General
A2.1.1 | Monthly overheads & administration charges | Months | 12 |  | R | R
A2.1.2 | Other monthly contractual charges | Months | 12 |  | R | R
SECTION A2 - TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total | R
SECTION B1 : ROUTINE MAINTENANCE
B1 | Routine maintenance (inclusive of all labour, equipment, transport and related costs)
B1.1 | Complete monthly inspection & submit report in electronic format, recording works carried out, findings requiring attention and costs to resolve | No. | 12 |  | R | R
B1.2 | Obtain relevant substation work permits for the month and Complete street lighting bypasses, Reset all control panels and all pole circuit breakers, Maintain all wiring connections, Maintain all roadway lighting pole alignment & compaction, Maintain all luminaire angle and/or alignment and Clean complete luminaire externally, including gear and reflector compartments | No. | 12 |  | R | R
SECTION B - TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  |  |  | Sub Total | R
Item | Description | Unit | Qty | Qty | Supply & Install Rate | Amount
SECTION C1 : GENERAL MAINTENANCE
C1 | General maintenance - provide supply rate for each item (The totalization for this section to be excluded from the final total)
C1.1 | 150W Metal halide HQI - T 150NDL lamp | Qty | 1 |  | 0
C1.2 | 250W Metal halide HQI - T 250NDL lamp | Qty | 1 |  | 0
C1.3 | 250W HPS NAV-T(son-t) lamp | Qty | 1 |  | 0
C1.4 | 150W HPS NAV-T(son-t) lamp | Qty | 1 |  | 0
C1.11 | 20 Ampere Contactor (Siemens or equivalent) | Qty | 1 |  | 0
C1.12 | 5 Ampere MCB 5kA (CBI or equivalent) | Qty | 1 |  | 0
C1.13 | 2.5mm² illumination cable (price/m) | Qty | 1 |  | 0
C1.14 | 16 mm² 4c PVC/SWA/PVC 600/1000V cable | m | 1 |  | 0
C1.15 | Scotchcast cable joint kit & ferrules to suite cable range | Qty | 1 |  | 0
C1.16 | Photo sensitive switch (National) | Qty | 1 |  | 0
C1.17 | Capacitor for HPS/ MH lamps | Qty | 1 |  | 0
C1.18 | Ignitor for MH lamps (Tridonic) | Qty | 1 |  | 0
C1.19 | Analogue Timer with 7 day spring reserve | Qty | 1 |  | 0
C1.20 | Digital Timer with 7 day spring reserve | Qty | 1 |  | 0
C1.21 | 9m (MH) GRP pole (white) | Qty | 1 |  | 0
| LEDlume-midi - 42LED/108W/11612lm | Qty | 1 |  | 0
C1.25 | Replace ballast | Qty | 1 |  | 0
C1.27 | Excavate, backfill and reinstate 0.45mx0.8m cable trench | Qty | 1 |  | 0
C1.28 | Remove & replace luminaire (Free issue material from ELIDZ stores) | Qty | 1 |  | 0
C1.29 | Excavate, backfill and make good hole for GRP mast (1.5m3/hole) | Qty | 1 |  | 0
C1.30 | Replace GRP mast (Free issue material from ELIDZ stores) | Qty | 1 |  | 0
C1.31 | Locate fault in underground electrical cable | Qty | 1 |  | 0
SECTION D1 : PROVISIONAL SUMS The total amount for sectin D1 must be inclusive of provided provisional sum & profit and attendace bidded % amount
Item | Description | Unit | Qty | Qty | Supply & Install Rate | Amount
D1.2 | Labour additional to scheduled works - For repairs and call outs
D1.2.1 | Electrical Technician | hr | 480 |  | R | R
D1.2.2 | Semi Skilled Labour | hr | 480 |  | R | R
D1.2.3 | Labour | hr | 200 |  | R | R
D1.3 | Travelling additional to scheduled works
D1.3.1 | LDV | km | 4000 |  | R | R
D1.3.2 | Truck - 8 Ton with a crane | Days | 100 |  | R | R
D1.3.3 | Hydraulic Platform - Nifty/Cherry pick | Days | 100 |  | R | R
D1.4 | Provisional Allowance for replacement equipment
D1.4.1 | Provisional sum for Replacement of Street and Canopy Lighting with LED Luminaires | Sum | 1 |  | 600000
D1.4.2 | Profit and attendance - bid % of the sum on C1.4.1 | % | % |  | R
D1.4.3 | Provisional sum for re-instatement (concrete / paving / pre mix) | Sum | 1 |  | 50000
D1.4.4 | Profit and attendance - bid % of the sum on C1.4.3 | % | % |  | R
D1.4.5 | Provisional sum for Estate Building Lighting Repairs | sum | 1 |  | 150000
D1.4.6 | Profit and attendance - bid % of the sum on C1.4.5 | % | % |  | R
D1.4.7 | Provisional sum for Replacement of Estate Building Lighting with LED Luminaires | Sum | 1 |  | 250000
D1.4.8 | Profit and attendance - bid % of the sum on C1.4.7 | % | % |  | R
D1.4.9 | Contingency allowance for non-schedule Work | Sum | 1 |  | 150000
D1.4.10 | Profit and attendance - bid % of the sum on C1.4.9 | % | % |  | R
SECTION D - TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY The total amount for sectin D1 must be inclusive of provided provisional sum & profit and attendace bidded % amount |  |  |  | Sub Total |  | R
SUMMARY
| SECTION A1 : ANNUAL CHARGES |  |  |  |  | R
| SECTION A2 : MONTHLY CHARGES |  |  |  |  | R
| SECTION B1 : ROUTINE CHARGES |  |  |  |  | R
SECTION C1 : GENERAL MAINTENANCE
| SECTION D1 : PROVISIONAL SUMS The total amount for sectin D1 must be inclusive of provided provisional sum & profit and attendace bidded % amount |  |  |  |  | R
| Nett Tender Sum for Year 1 |  |  |  |  | R
| Nett Tender Sum for Year 2 (Escalated) | % |  |  |  | R
| Nett Tender Sum for Year 3 (Escalated) | % |  |  |  | R
| Total for 3 (Three) Year Term |  |  |  |  | R
| Add VAT @ 15% |  |  |  |  | R
| Gross Tender Sum carried to Form of Offer |  |  |  |  | R