## BOQ
PROVISION OF ELECTRIC FENCE MAINTENANCE ES/25//EF/01
Item | Description | Unit | Qty | Monthly Supply Rate | Annual Total Amount
SECTION A1 : ANNUAL CHARGES
A1.1 | Annual Preliminary & General
A1.1.1 | Staff protective personal equipment | Sum | 1 | R | R
A1.1.2 | Staff induction | Sum | 1 | R | R
A1.1.3 | SHE file | Sum | 1 | R | R
| TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  | Sub Total | R
SECTION A2 : MONTHLY CHARGES
A1.2 | Monthly Preliminary & General
A1.2.1 | Monthly overheads & administration charges | Months | 12 | R | R
| TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  | Sub Total | R
PROVISION OF ELECTRIC FENCE MAINTENANCE ES/25//EF/01
| SECTION B1 : ROUTINE MAINTENANCE |  | Qty | Monthly Supply Rate | Annual Total Amount
B1 | Routine maintenance (inclusive of all labour, equipment, transport and related costs)
B1.1 | Inspection/test of Electric Fence network every normal working day and submit job cards/report detailing faults attended to and recorded in a duplicate maintenance manual. | Months | 12 | R | R
B1.2 | Prepare weekly works/maintenance program for the forthcoming month - to be vetted and approved by ELIDZ before proceeding | Months | 12 | R | R
Kiosk Inspections (including operation of all energizers, cleaning battery terminals, battery charging rates, battery load tests, battery chargers, vacuum entire kiosk, clean/replace filters were necessary, maintain high voltage leads and connections, maintain external paintwork, lubricate locking mechanisms and hinges. (15 kiosks at 4 times per annum)
Inspection of approx 15Kms Electric Fence (including all wiring joints, terminations, tensions and earths)
Check,repair,replace with free-issue furniture: Electric Fence Furniture/Equipment (including strain and suspension insulators, combo tensioners, bridges etc) Include Zone 1D - BCM Reservoir.
Electric Fence Failures (clean fence furniture/equipment where necessary to remove corona tracking due to salt built up)
Vegetation Control (assign two suitably trained personnel to patrol the entire ELIDZ fence line on a daily basis and administer MAMBA or approved vegetation control mixture 0.5m either side, along the entire fence route as and when required. In addition this personnel will be required to remove/dispose of all debris, plastic and paper etc along the fence within a 6m servitude area.
Active Vegetation Ingredient - Suitably formulated to be applied to fence routes, walkways and hard stands
Per m² Walkway and Hard Stands
Fibre Intrusion Detection Equipment ( Includes Physical hardware check & test ,calibration checks-Local & remote alarm tests)
| TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  | Sub Total
PROVISION OF ELECTRIC FENCE MAINTENANCE ES/25//EF/01
Item | Description
| SECTION C1 : GENERAL MAINTENANCE | Unit | Qty | Supply & Install Rate | Amount
C1 | General maintenance (Note that this section doesn't form part of the final total below.)
C1.1 | Replace Energizer (matching existing) JVA Z28 | No. | 1 | R
C1.2 | Replace Battery (matching existing) 106 amp/hr | No. | 1 | R
C1.3 | Replace Battery Charger (matching existing) Hawkins 15 amp | No. | 1 | R
C1.4 | Replace Selector Switch Moeller 2POS | No. | 1 | R
C1.5 | Replace 2.0mm SS wire class 316 | m | 1 | R
C1.6 | Replace HT Wire (braided Stainless Steel) | m | 1 | R
C1.7 | Combo Tensioner/insulator (Donald) | No. | 1 | R
C1.8 | Combo Tensioner/insulator (Hybrid BB Heavy Duty) | No. | 1 | R
C1.9 | Insulator QF | No. | 1 | R
C1.10 | Ultra Strain Insulator | No. | 1 | R
C1.11 | Clip on insulator modutech 25mm | No. | 1 | R
C1.12 | Clip on insulator beckahard (Nylofor) | No. | 1 | R
C1.13 | Customized Warning signs Plastic UV resistant | No. | 1 | R
C1.14 | Roller shutter door contact switch (Industrial) | No. | 1 | R
C1.15 | Concrete Palisade Intermediate Post | No. | 1 | R
C1.16 | Concrete Palisade Straining Post | No. | 1 | R
C1.17 | Concrete Palisade Cross Beam | No. | 1 | R
C1.18 | Palisade Panel | No. | 1 | R
C1.19 | Palisade Intermediate Post | No. | 1 | R
C1.20 | Palisade Straining Post | No. | 1 | R
C1.21 | Fence Post Labelling | No. | 1 | R
C1.22 | Stainless Steel Poprivets (5mm) | No. | 1 | R
C1.23 | Line clamps | No. | 1 | R
C1.24 | Spider clamps (Nylafor fence) | No. | 1 | R
C1.25 | Base plates (Main post, to mount ontop of conrete plinth) | No. | 1 | R
C1.26 | Base plates (Intermediate post, to mount ontop of conrete plinth) | No. | 1 | R
| TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  | Sub Total | R
PROVISION OF ELECTRIC FENCE MAINTENANCE ES/25//EF/01
SECTION A4 : PROVISIONAL CHARGES
Item
SECTION D1 : PROVISIONAL SUMS
|  | Unit | Qty | Supply & Install Rate | Amount
D1.1 | Call out (inclusive of all labour, equipment, transport and related costs)
D1.1.1 | Emergency response (Immediate) | No. | 420 | R | R
D1.1.3 | Routine response (extra over during normal working hours) | No. | 420 | R | R
D1.2 | Labour additional to scheduled works
D1.2.1 | Technician / Electrician | hr. | 420 | R | R
D1.2.2 | Semi Skilled Labour | hr. | 420 | R | R
D1.2.3 | Labour | hr. | 420 | R | R
D1.3 | Travelling additional to scheduled works
D1.3.2 | 4 x 4 LDV | R/km | 4000 | R | R
D1.4 | Provisional Allowance for replacement equipment
D1.4.1 | Allowance is made for replacement of unservicable equipment and gate and fence repairs, as directed by the engineer - (Carry forward the provisional sum and aggregate the amount to the total offer value) | Sum | 1 | 1000000 | 1000000
D1.4.2 | Profit and Attendance | % |  | 0% | 0
| TOTAL FOR SCHEDULE CARRIED FORWARD TO SUMMARY |  |  | Sub Total | R
SUMMARY
| SECTION A1 : ANNUAL CHARGES |  |  |  | R
| SECTION A2 : MONTHLY CHARGES |  |  |  | R
| SECTION B1 : ROUTINE CHARGES |  |  |  | R
| SECTION C1 : GENERAL MAINTENANCE |  |  |  | R
| SECTION D1 : PROVISIONAL SUMS |  |  |  | R
| VAT @ 15% |  |  |  | R
| TOTAL |  |  |  | R
| DESCRIPTION |  |  | Esc % | Total Amount
| Term 1 |  |  |  | R
| Term 2 |  |  |  | R
| Term 3 |  |  |  | R
| Sub Total |  |  |  | R
| Vat @ 15% |  |  |  | R
| Contract Total |  |  |  | R